## analytical techniques
Appendix DR3. Techniques for in situ Sm-Nd isotope analysis of minerals
All in situ isotopic analyses in this study were carried out at the Advanced Analytical Centre, James Cook University, Townsville, Australia, over multiple analytical sessions between June 2015 and May 2017. Mineral analyses of LCG-07, LCG-09 and DM3 were conducted from polished thin sections, whereas mineral analyses from RT7-8b, and RT7-9b were condicted from mineral grain mounts. All analyses were conducted using a ThermoScientific NEPTUNE multicollector ICP-MS coupled to the Geolas 193 nm ARF excimer laser system with custom-built sample chamber. Full instrument and analysis conditions are presented in Hammerli et al. (2014). In situ laser ablation analyses were acquired over 60 seconds with a pulse rate of 4 Hz and a laser energy density at the sample site of 5-6 J/cm2, as determined by an energy meter. Ablation pit diameters were 16 to 44 µm for monazite, 44 to 120 µm for epidote, 60 to 90 µm for lawsonite, and 44 to 160 µm for apatite. Ablation was carried out in He (typical flow rate ~0.9 l/min), which was combined with Ar (~0.8 l/min, optimized daily) and N2 (0.005 l/min) prior to transport into the torch. Interference and mass bias corrections were made according to the method of Fisher et al. (2011). The 147Sm/144Nd ratios were derived by calibration to a synthetic LREE-rich silicate glass (147Sm/144Nd = 0.2451; Fisher et al., 2011), which was routinely analysed throughout each session. Sample mineral 143Nd/144Nd ratios were further normalized to bracketing analyses of Nd-doped glass (JNdi-1, TIMS 143Nd/144Nd = 0.512098 ±13; Fisher et al., 2011). In all cases, the normalisation factors for 147Sm/144Nd and 143Nd/144Nd ratios were less than 2% and 15 ppm, respectively. In almost all cases (~95%), the measured 145Nd/144Nd is within uncertainty of the canonical value of 0.348415 (see Fisher et al., 2011).
We used several different secondary mineral standards as quality control materials: MAD, AP1 and Otter Lake apatites from Yang et al. (2014), Mae Klang monazite (Fisher et al., 2011), Diabosatsu allanite ( (Fisher et al., 2011), and MKED1 titanite (Spandler et al., 2016). THese standard were run in triplicate ever 3-4 hours during analytical sessions. Beam diameters were 60 µm for the apatite standards, 24 µm for Mae Klang monazite, and Diabosatsu allanite, and 60 to 90 µm for MKED1 titanite. Our147Nd/143Nd and intial 143Nd/144Nd results for these standards are within error of the reference values in all cases, as outlined in the accompanying worksheet labelled "standards".
References:
Fisher, C.M., McFarlane, C.R.M., Hanchar, J.M., Schmitz, M.D., Sylvester, P.J., Lam, R., Longerich, H.P., 2011. Sm-Nd isotope systematics by laser ablation-multicollector-inductively coupled plasma mass spectrometry: Methods and potential natural and synthetic reference materials. Chemical Geology, v. 284, p. 1-20.
Hammerli, J., Kemp, A.I.S., Spandler, C., 2014. Neodymium isotope equilibration during crustal metamorphism revealed by in situ microanalysis of REE-rich accessory minerals. Earth and Planetary Science Letters, v. 392, p. 133-142.
Spandler, C., Hammerli, J., Sha, P., Hilbert-Wolf, H., Hu, Y., Roberts, E.M., Schmitz, M., 2016. MKED1: A new titanite standard for in situ analysis of Sm-Nd isotopes and U-Pb geochronology. Chemical Geology, v. 425, p. 110-126.
Yang, Y.H., Wu, F.Y., Yang, J.H., Chew, D.M., Xie, L.W., Chu, Z.Y., et al., 2014. Sr and Nd isotopic compositions of apatite reference materials used in U–Th–Pb geochronology. Chemical Geology, v. 385, p. 35-55.

## standards
Appendix DR3. Sm-Nd isotope data for secondary standard, with reference values
Otter Lake apatite (Yang et al. 2014, Chemical Geology 385, 35-55): 60 µm spot size | [8 empty] | AP1 apatite (Yang et al. 2014, Chemical Geology 385, 35-55): 60 µm spot size | [8 empty] | MAD apatite (Yang et al. 2014, Chemical Geology 385, 35-55): 60 µm spot size | [8 empty] | MKED1 titanite (Spandler et al. 2016, Chemical Geology 425, 110-126): 90 µm spot size | [8 empty] | Mae Klang monazite (Fisher et al. 2011, Chemical Geology 284, 1-20): 24 µm spot size | [8 empty] | Daibosatsu allanite (Fisher et al. 2011, Chemical Geology 284, 1-20): 32 µm spot size
analysis | measured 147Sm/144Nd | 2 s | measured 143Nd/144Nd | 2 s | age (m.y.) | initial 143Nd/144Nd | eNd | 2 s | analysis | measured 147Sm/144Nd | 2 s | measured 143Nd/144Nd | 2 s | age (m.y.) | initial 143Nd/144Nd | eNd | 2 s | analysis | measured 147Sm/144Nd | 2 s | measured 143Nd/144Nd | 2 s | age (m.y.) | initial 143Nd/144Nd | eNd | 2 s | analysis | measured 147Sm/144Nd | 2 s | measured 143Nd/144Nd | 2 s | age (m.y.) | initial 143Nd/144Nd | eNd | 2 s | analysis | measured 147Sm/144Nd | 2 s | measured 143Nd/144Nd | 2 s | age (m.y.) | initial 143Nd/144Nd | eNd | 2 s | analysis | measured 147Sm/144Nd | 2 s | measured 143Nd/144Nd | 2 s | age (m.y.) | initial 143Nd/144Nd | eNd | 2 s
Reference value | 0.0827 | 0.0021 | 0.51194 | 4.5e-05 | 913 | 0.51145 | -0.25 | 0.88 | Reference value | 0.0822 | 0.0014 | 0.51135 | 3.8e-05 | 475 | 0.51109 | -18.2 | 0.8 | Reference value | 0.0811 | 0.0017 | 0.51132 | 5.3e-05 | 485 | 0.51106 | -18.5 | 1 | Reference value - laser | 0.129 | 0.0015 | 0.51165 | 3.7e-05 | 1518 | 0.51036 | -6.3 | 0.65 | Reference value - laser | 0.0924 | 0.0124 | 0.51263 | 2.4e-05 | 27 | 0.51262 | 0.3 | 0.47 | Reference value - laser | 0.079 | 0.0055 | 0.51258 | 2.6e-05 | 13 | 0.51257 | -0.9754 | 0.5072
[27 empty] | Reference value -TIMS | 0.127 | 0.0004 | 0.51163 | 3e-06 | 1518 | 0.51036 | -6.13 | 0.05 | Reference value -TIMS | 0.0978 | 0.0227 | 0.51265 | 1.3e-05 | 27 | 0.51263 | 0.5 | 0.25 | Reference value -TIMS | 0.0767 | 0.0037 | 0.5126 | 1.3e-05 | 13 | 0.51259 | -0.56193 | 0.2536
Session 01/06/2016 | [8 empty] | Session 01/06/2016 | [8 empty] | Session 16/06/2015 | [8 empty] | Session 01/06/2016 | [8 empty] | Session 22/02/2015 | [8 empty] | Session 22/02/2015
Otterlake 1 | 0.0814 | 0.0003 | 0.51189 | 2.3e-05 | 913 | 0.5114 | -1.16 | 0.44 | AP-1 1 | 0.0783 | 0.0004 | 0.51138 | 3.3e-05 | 475 | 0.51114 | -17.33 | 0.64 | MAD1 | 0.0849 | 3e-05 | 0.51133 | 4.7e-05 | 485 | 0.51106 | -18.64 | 0.93 | MKED1 | 0.1297 | 0.0002 | 0.51164 | 2.1e-05 | 1518 | 0.51035 | -6.45 | 0.41 | MaeLKlang_3 | 0.0885 | 0.0006 | 0.51263 | 1.8e-05 | 27 | 0.51261 | 0.22 | 0.35 | Daibosatsu_1 | 0.0833 | 9e-05 | 0.51258 | 2.9e-05 | 13 | 0.51257 | -0.94 | 0.56
Otterlake 2 | 0.0815 | 0.0003 | 0.51188 | 2.5e-05 | 913 | 0.5114 | -1.28 | 0.48 | AP-1 2 | 0.081 | 0.0003 | 0.51136 | 4.5e-05 | 475 | 0.51111 | -17.94 | 0.87 | MAD2 | 0.085 | 2e-05 | 0.51131 | 4.6e-05 | 485 | 0.51104 | -18.99 | 0.9 | MKED2 | 0.1299 | 0.0001 | 0.51164 | 2.7e-05 | 1518 | 0.51035 | -6.45 | 0.53 | MaeLKlang_4 | 0.1141 | 0.0007 | 0.51263 | 1.9e-05 | 27 | 0.51261 | 0.19 | 0.37 | Daibosatsu_2 | 0.0829 | 5e-05 | 0.51259 | 2.4e-05 | 13 | 0.51258 | -0.8 | 0.47
Otterlake 3 | 0.0814 | 0.0003 | 0.51192 | 2.2e-05 | 913 | 0.51143 | -0.54 | 0.43 | AP-1 3 | 0.081 | 0.0003 | 0.51136 | 4.4e-05 | 475 | 0.51111 | -17.92 | 0.86 | MAD3 | 0.0853 | 3e-05 | 0.5113 | 4.1e-05 | 485 | 0.51102 | -19.32 | 0.79 | MKED3 | 0.1296 | 0.0001 | 0.51162 | 2.4e-05 | 1518 | 0.51033 | -6.83 | 0.48 | MaeLKlang_5 | 0.0916 | 0.0006 | 0.51263 | 1.9e-05 | 27 | 0.51262 | 0.25 | 0.38 | Daibosatsu_3 | 0.0829 | 5e-05 | 0.51259 | 2.2e-05 | 13 | 0.51258 | -0.78 | 0.43
Otterlake 4 | 0.0806 | 0.0007 | 0.51192 | 2.9e-05 | 913 | 0.51143 | -0.49 | 0.56 | AP1-4 | 0.0801 | 0.0002 | 0.51136 | 4.1e-05 | 475 | 0.51111 | -17.87 | 0.8 | MAD4 | 0.0844 | 3e-05 | 0.51131 | 4.3e-05 | 485 | 0.51104 | -19.05 | 0.85 | MKED4 | 0.1298 | 0.0001 | 0.51164 | 2.8e-05 | 1518 | 0.51034 | -6.56 | 0.55 | MaeLKlang_6 | 0.0893 | 0.0011 | 0.51265 | 2.4e-05 | 27 | 0.51263 | 0.5 | 0.47
Otterlake 5 | 0.082 | 0.0002 | 0.51191 | 2.3e-05 | 913 | 0.51142 | -0.85 | 0.46 | AP1-5 | 0.081 | 0.0002 | 0.51134 | 4e-05 | 475 | 0.51108 | -18.41 | 0.77 | MAD5 | 0.0845 | 2e-05 | 0.51131 | 4.6e-05 | 485 | 0.51104 | -19.08 | 0.9 | MKED5 | 0.1298 | 0.0001 | 0.51163 | 2.9e-05 | 1518 | 0.51034 | -6.6 | 0.56 | MaeLKlang_7 | 0.0894 | 0.0005 | 0.51263 | 2e-05 | 27 | 0.51262 | 0.29 | 0.38 | Average | 0.083 | 6e-05 | 0.51258 | 2.5e-05 | 13 | 0.51258 | -0.84 | 0.49
otterlake 6 | 0.0826 | 0.0002 | 0.51191 | 2.3e-05 | 913 | 0.51141 | -0.9 | 0.45 | AP1-6 | 0.0822 | 0.0002 | 0.51131 | 3.9e-05 | 475 | 0.51106 | -18.9 | 0.76 | MAD6 | 0.0847 | 3e-05 | 0.51132 | 4.2e-05 | 485 | 0.51105 | -18.79 | 0.81 | MKED6 | 0.1307 | 0.0001 | 0.51162 | 2.7e-05 | 1518 | 0.51032 | -7.03 | 0.52 | MaeLKlang_8 | 0.0854 | 0.0005 | 0.51263 | 1.8e-05 | 27 | 0.51262 | 0.28 | 0.35 | 2 s | 0.0005 | 5e-05 | 9e-06 | 7e-06 |  | 9e-06 | 0.17
otterlake 7 | 0.0809 | 0.0002 | 0.51191 | 2.5e-05 | 913 | 0.51142 | -0.76 | 0.5 | AP1-7 | 0.0832 | 0.0001 | 0.51133 | 4e-05 | 475 | 0.51107 | -18.64 | 0.78 | MAD7 | 0.0838 | 4e-05 | 0.51136 | 4.8e-05 | 485 | 0.51109 | -18.04 | 0.93 | MKED7 | 0.1306 | 0.0001 | 0.51164 | 3e-05 | 1518 | 0.51033 | -6.7 | 0.58 | MaeLKlang_9 | 0.0872 | 0.0007 | 0.51264 | 1.7e-05 | 27 | 0.51262 | 0.4 | 0.34
otterlake 8 | 0.0824 | 0.0001 | 0.51189 | 2.8e-05 | 913 | 0.51139 | -1.36 | 0.55 | AP1-8 | 0.0819 | 0.0002 | 0.51137 | 4.3e-05 | 475 | 0.51111 | -17.82 | 0.83 | MAD8 | 0.0838 | 3e-05 | 0.51129 | 5e-05 | 485 | 0.51103 | -19.26 | 0.97 | MKED8 | 0.1308 | 0.0002 | 0.51164 | 2.7e-05 | 1518 | 0.51033 | -6.75 | 0.53 | MaeLKlang_10 | 0.0898 | 0.0005 | 0.51263 | 1.7e-05 | 27 | 0.51262 | 0.28 | 0.33
otterlake 9 | 0.0822 | 0.0001 | 0.51192 | 3.1e-05 | 913 | 0.51142 | -0.71 | 0.61 | AP1-9 | 0.0832 | 0.0003 | 0.5113 | 4.9e-05 | 475 | 0.51104 | -19.26 | 0.95 | MAD9 | 0.0839 | 4e-05 | 0.51134 | 4.4e-05 | 485 | 0.51107 | -18.4 | 0.86 | MKED9 | 0.1291 | 0.0001 | 0.51165 | 2.7e-05 | 1518 | 0.51036 | -6.25 | 0.54 | MaeLKlang_11 | 0.1184 | 0.0007 | 0.51265 | 1.7e-05 | 27 | 0.51263 | 0.51 | 0.34
otterlake 10 | 0.0819 | 0.0002 | 0.51192 | 2.5e-05 | 913 | 0.51143 | -0.63 | 0.49 | AP1-10 | 0.0824 | 0.0003 | 0.51135 | 4.8e-05 | 475 | 0.5111 | -18.17 | 0.94 | MAD10 | 0.0838 | 3e-05 | 0.51133 | 4.8e-05 | 485 | 0.51106 | -18.61 | 0.94 | MKED10 | 0.1296 | 0.0002 | 0.51162 | 2.8e-05 | 1518 | 0.51032 | -6.93 | 0.55 | MaeLKlang_12 | 0.1164 | 0.0007 | 0.51264 | 1.7e-05 | 27 | 0.51262 | 0.38 | 0.33
otterlake11 | 0.0813 | 0.0001 | 0.51189 | 2.7e-05 | 913 | 0.51141 | -1.07 | 0.52 | AP1-11 | 0.0811 | 0.0002 | 0.51128 | 4.5e-05 | 475 | 0.51103 | -19.43 | 0.88 | MAD11 | 0.0837 | 3e-05 | 0.51133 | 4.8e-05 | 485 | 0.51106 | -18.57 | 0.94 | MKED11 | 0.1296 | 0.0001 | 0.51165 | 3.8e-05 | 1518 | 0.51036 | -6.15 | 0.75 | MaeLKlang_13 | 0.1097 | 0.0012 | 0.51263 | 1.6e-05 | 27 | 0.51261 | 0.21 | 0.32
[18 empty] | MAD12 | 0.0838 | 3e-05 | 0.5113 | 4.8e-05 | 485 | 0.51104 | -19.06 | 0.93 | [9 empty] | MaeLKlang_15 | 0.0989 | 0.0006 | 0.51264 | 2.4e-05 | 27 | 0.51263 | 0.45 | 0.46
Average | 0.0817 | 0.0002 | 0.5119 | 2.6e-05 | 913 | 0.51141 | -0.89 | 0.5 | Average | 0.0814 | 0.0002 | 0.51134 | 4.2e-05 | 475 | 0.51109 | -18.34 | 0.83 | MAD13 | 0.084 | 3e-05 | 0.51131 | 4.7e-05 | 485 | 0.51104 | -18.97 | 0.92 | Average | 0.1299 | 0.0001 | 0.51163 | 2.8e-05 | 1518 | 0.51034 | -6.61 | 0.55 | MaeLKlang_16 | 0.0922 | 0.0006 | 0.51264 | 1.8e-05 | 27 | 0.51262 | 0.4 | 0.36
2 s | 0.0012 | 0.0003 | 2.9e-05 | 6e-06 |  | 3e-05 | 0.59 |  | 2 s | 0.0028 | 0.0002 | 6.2e-05 | 9e-06 |  | 6.7e-05 | 1.31 |  | MAD14 | 0.0841 | 3e-05 | 0.51132 | 4.5e-05 | 485 | 0.51105 | -18.85 | 0.87 | 2 s | 0.0011 | 0.0001 | 2.3e-05 | 8e-06 |  | 2.8e-05 | 0.55 |  | MaeLKlang_17 | 0.0826 | 0.0005 | 0.51263 | 1.7e-05 | 27 | 0.51262 | 0.32 | 0.33
[18 empty] | MAD15 | 0.0841 | 3e-05 | 0.51134 | 5.3e-05 | 485 | 0.51107 | -18.37 | 1.03 | [9 empty] | MaeLKlang_18 | 0.1121 | 0.0012 | 0.51266 | 1.8e-05 | 27 | 0.51264 | 0.71 | 0.35
Session 16/06/2016 | [8 empty] | Session 16/06/2016 | [8 empty] | MAD16 | 0.0836 | 3e-05 | 0.51133 | 3.7e-05 | 485 | 0.51106 | -18.53 | 0.73 | Session 16/06/2015
[18 empty] | MAD17 | 0.0835 | 3e-05 | 0.5113 | 4.8e-05 | 485 | 0.51104 | -19.08 | 0.94 | [9 empty] | Average | 0.0977 | 0.0007 | 0.51264 | 1.9e-05 | 27 | 0.51262 | 0.36 | 0.36
Otterlake 1 | 0.0818 | 0.0002 | 0.51192 | 2.4e-05 | 913 | 0.51143 | -0.64 | 0.47 | AP-1 1 | 0.0826 | 0.0002 | 0.51133 | 3.6e-05 | 475 | 0.51107 | -18.71 | 0.71 | MAD18 | 0.0831 | 3e-05 | 0.5113 | 4.1e-05 | 485 | 0.51104 | -19.03 | 0.81 | MKED_2 | 0.1324 | 0.0029 | 0.51164 | 3.5e-05 | 1518 | 0.51032 | -7.04 | 0.69 | 2 s | 0.0253 | 0.0005 | 1.7e-05 | 5e-06 |  | 1.4e-05 | 0.28
Otterlake 2 | 0.0813 | 0.0002 | 0.51189 | 2.1e-05 | 913 | 0.51141 | -1.02 | 0.42 | AP-1 2 | 0.0833 | 0.0003 | 0.51138 | 3.9e-05 | 475 | 0.51112 | -17.7 | 0.77 | [9 empty] | MKED_3 | 0.1286 | 0.0029 | 0.51167 | 4.2e-05 | 1518 | 0.51038 | -5.71 | 0.83
Otterlake 3 | 0.0815 | 0.0002 | 0.51191 | 2.4e-05 | 913 | 0.51142 | -0.83 | 0.46 | AP-1 3 | 0.0809 | 0.0003 | 0.51132 | 4.2e-05 | 475 | 0.51107 | -18.62 | 0.83 | Average | 0.0841 | 3e-05 | 0.51132 | 4.6e-05 | 485 | 0.51105 | -18.81 | 0.89 | MKED_4 | 0.1305 | 0.0029 | 0.51166 | 3.4e-05 | 1518 | 0.51036 | -6.17 | 0.67
Otterlake 4 | 0.0806 | 0.0003 | 0.5119 | 2.7e-05 | 913 | 0.51141 | -0.91 | 0.53 | AP-1 4 | 0.0818 | 0.0005 | 0.51136 | 4.7e-05 | 475 | 0.51111 | -17.95 | 0.91 | 2 s | 0.0012 | 1e-05 | 3.4e-05 | 8e-06 |  | 3.6e-05 | 0.66 |  | MKED_5 | 0.1335 | 0.0029 | 0.51166 | 4.1e-05 | 1518 | 0.51033 | -6.89 | 0.8
Otterlake 5 | 0.0804 | 0.0002 | 0.51192 | 2.7e-05 | 913 | 0.51143 | -0.51 | 0.53 | AP-1 5 | 0.0799 | 0.0005 | 0.51135 | 4.9e-05 | 475 | 0.5111 | -18.13 | 0.95 | [9 empty] | MKED_6 | 0.1326 | 0.0029 | 0.51167 | 4.8e-05 | 1518 | 0.51035 | -6.36 | 0.93
Otterlake 6 | 0.0812 | 0.0002 | 0.5119 | 2.1e-05 | 913 | 0.51141 | -0.92 | 0.42 | AP-1 6 | 0.079 | 0.0004 | 0.51135 | 3.2e-05 | 475 | 0.5111 | -18.01 | 0.62 | [9 empty] | MKED_8 | 0.1324 | 0.0029 | 0.51166 | 4.3e-05 | 1518 | 0.51034 | -6.58 | 0.84
Otterlake 7 | 0.0813 | 0.0002 | 0.5119 | 2.2e-05 | 913 | 0.51141 | -0.92 | 0.43 | [18 empty] | MKED_10 | 0.1324 | 0.0029 | 0.51164 | 3.4e-05 | 1518 | 0.51032 | -6.96 | 0.67
[9 empty] | Average | 0.0813 | 0.0004 | 0.51135 | 4.1e-05 | 475 | 0.51109 | -18.19 | 0.8 | [9 empty] | MKED_11b | 0.13 | 0.0029 | 0.51162 | 4.8e-05 | 1518 | 0.51033 | -6.88 | 0.94
Average | 0.0812 | 0.0002 | 0.51191 | 2.4e-05 |  | 0.51142 | -0.82 | 0.47 | 2 s | 0.0033 | 0.0002 | 4.3e-05 | 1.3e-05 |  | 4.1e-05 | 0.79 | [10 empty] | MKED_11c | 0.1291 | 0.0028 | 0.51161 | 3.1e-05 | 1518 | 0.51032 | -7.02 | 0.6
2 s | 0.001 | 0.0001 | 1.8e-05 | 5e-06 |  | 1.8e-06 | 0.36 | [19 empty] | MKED_11d | 0.1297 | 0.0028 | 0.51163 | 3.5e-05 | 1518 | 0.51034 | -6.63 | 0.69
[27 empty] | MKED_12a | 0.1282 | 0.0028 | 0.51162 | 3.7e-05 | 1518 | 0.51035 | -6.47 | 0.72
Session 08/05/2017 | [8 empty] | Session 08/05/2017 | [17 empty] | MKED_12d | 0.129 | 0.0041 | 0.51165 | 4.7e-05 | 1518 | 0.51037 | -6.08 | 0.93
[27 empty] | MKED_12e | 0.1301 | 0.0029 | 0.51165 | 3.8e-05 | 1518 | 0.51036 | -6.27 | 0.74
Otterlake 1 | 0.0797 | 0.0002 | 0.5119 | 2.6e-05 | 913 | 0.51142 | -0.79 | 0.5 | AP1-1 | 0.0814 | 0.0002 | 0.51138 | 4.1e-05 | 475 | 0.51113 | -17.49 | 0.79 | [9 empty] | MKED_13b | 0.1297 | 0.0028 | 0.51165 | 4.5e-05 | 1518 | 0.51036 | -6.3 | 0.88
Otterlake 2 | 0.0784 | 0.0002 | 0.51192 | 2.1e-05 | 913 | 0.51145 | -0.11 | 0.4 | AP1-2 | 0.0797 | 0.0002 | 0.51131 | 3e-05 | 475 | 0.51106 | -18.82 | 0.59 | [9 empty] | MKED_13c | 0.13 | 0.0029 | 0.51163 | 4.9e-05 | 1518 | 0.51034 | -6.62 | 0.96
Otterlake 3 | 0.0787 | 0.0002 | 0.5119 | 2.5e-05 | 913 | 0.51143 | -0.64 | 0.49 | AP1-3 | 0.083 | 0.0002 | 0.5113 | 2.3e-05 | 475 | 0.51105 | -19.14 | 0.44 | [9 empty] | MKED_14a | 0.1314 | 0.0029 | 0.51167 | 4.5e-05 | 1518 | 0.51036 | -6.29 | 0.89
Otterlake 4 | 0.0802 | 0.0002 | 0.5119 | 2.6e-05 | 913 | 0.51142 | -0.74 | 0.5 | AP1-4 | 0.083 | 0.0002 | 0.51132 | 2.4e-05 | 475 | 0.51107 | -18.76 | 0.47 | [9 empty] | MKED_14b | 0.1309 | 0.0029 | 0.51165 | 4.5e-05 | 1518 | 0.51034 | -6.51 | 0.88
Otterlake 5 | 0.0811 | 0.0002 | 0.5119 | 2.6e-05 | 913 | 0.51142 | -0.88 | 0.5 | AP1-5 | 0.083 | 0.0002 | 0.51132 | 3.1e-05 | 475 | 0.51106 | -18.78 | 0.61 | [9 empty] | MKED_14c | 0.1325 | 0.0029 | 0.51166 | 4.3e-05 | 1518 | 0.51034 | -6.66 | 0.84
Otterlake 6 | 0.08 | 0.0002 | 0.51191 | 2.7e-05 | 913 | 0.51143 | -0.67 | 0.53 | [18 empty] | MKED_15a | 0.1307 | 0.0029 | 0.51163 | 4e-05 | 1518 | 0.51033 | -6.81 | 0.77
otterlake 07 | 0.0813 | 0.0002 | 0.51193 | 3e-05 | 913 | 0.51144 | -0.35 | 0.59 | Average | 0.082 | 0.0002 | 0.51133 | 3e-05 | 475 | 0.51107 | -18.6 | 0.58 | [9 empty] | MKED_15b | 0.1296 | 0.0028 | 0.51162 | 3.7e-05 | 1518 | 0.51033 | -6.82 | 0.72
otterlake 08 | 0.0816 | 0.0002 | 0.51191 | 2.3e-05 | 913 | 0.51143 | -0.68 | 0.45 | 2 s | 0.0029 | 0 | 6.3e-05 | 1.4e-05 |  | 6.6e-05 | 1.28 | 0.28 | [9 empty] | MKED_15c | 0.1297 | 0.0028 | 0.51162 | 4.3e-05 | 1518 | 0.51032 | -6.93 | 0.85
otterlake 09 | 0.0812 | 0.0002 | 0.51191 | 2.5e-05 | 913 | 0.51142 | -0.73 | 0.49 | [18 empty] | MKED_16a | 0.1298 | 0.0028 | 0.51162 | 3.8e-05 | 1518 | 0.51033 | -6.89 | 0.75
otterlake 10 | 0.0803 | 0.0002 | 0.51191 | 2.7e-05 | 913 | 0.51143 | -0.63 | 0.52 | [18 empty] | MKED_16b | 0.13 | 0.0029 | 0.51168 | 4.1e-05 | 1518 | 0.51039 | -5.67 | 0.81
otterlake 11 | 0.0803 | 0.0002 | 0.51192 | 2.1e-05 | 913 | 0.51143 | -0.49 | 0.42 | Session 22/02/2015 | [17 empty] | MKED_16c | 0.1295 | 0.0028 | 0.51161 | 3.7e-05 | 1518 | 0.51032 | -6.93 | 0.72
[27 empty] | MKED_17a | 0.1281 | 0.0028 | 0.51162 | 4.1e-05 | 1518 | 0.51034 | -6.59 | 0.8
Average | 0.0803 | 0.0002 | 0.51191 | 2.5e-05 | 913 | 0.51143 | -0.61 | 0.49 | Ap1_3 | 0.084 | 0.0005 | 0.51134 | 4.4e-05 | 475 | 0.51108 | -18.47 | 0.87 | [9 empty] | MKED_17b | 0.1288 | 0.0028 | 0.51162 | 3.5e-05 | 1518 | 0.51034 | -6.67 | 0.69
2 s | 0.0021 | 0 | 2.1e-05 | 5e-06 |  | 2.2e-05 | 0.44 |  | Ap1_4 | 0.0827 | 0.0005 | 0.51135 | 2.8e-05 | 475 | 0.51109 | -18.27 | 0.54
[9 empty] | Ap1_5 | 0.0832 | 0.0005 | 0.51133 | 2.8e-05 | 475 | 0.51107 | -18.64 | 0.55 | [9 empty] | Average | 0.1304 | 0.0029 | 0.51164 | 4e-05 | 1518 | 0.51034 | -6.57 | 0.79
Session 22/02/2015 | [8 empty] | Ap1_6 | 0.0831 | 0.0005 | 0.51132 | 3e-05 | 475 | 0.51106 | -18.86 | 0.58 | [9 empty] | 2 s | 0.003 | 0.0005 | 4.3e-05 | 1e-06 |  | 3.8e-05 | 0.75
[9 empty] | Ap1_7 | 0.0836 | 0.0005 | 0.51135 | 3.5e-05 | 475 | 0.51109 | -18.23 | 0.68
Otterlake_2 | 0.0791 | 0.0005 | 0.51189 | 3.2e-05 | 913 | 0.51142 | -0.81 | 0.63 | Ap1_8 | 0.0841 | 0.0005 | 0.51134 | 3.7e-05 | 475 | 0.51108 | -18.45 | 0.73
Otterlake_3 | 0.08 | 0.0005 | 0.51191 | 3.5e-05 | 913 | 0.51143 | -0.57 | 0.67 | Ap1_9 | 0.0838 | 0.0005 | 0.51132 | 3.2e-05 | 475 | 0.51106 | -18.83 | 0.62 | [9 empty] | Session 22/02/2015
Otterlake_4 | 0.0798 | 0.0005 | 0.5119 | 2.5e-05 | 913 | 0.51142 | -0.78 | 0.5
Otterlake_5 | 0.0801 | 0.0005 | 0.51192 | 2.5e-05 | 913 | 0.51144 | -0.32 | 0.49 | Average | 0.0835 | 0.0005 | 0.51134 | 3.3e-05 | 475 | 0.51108 | -18.53 | 0.65 | [9 empty] | MKED_1 | 0.1307 | 0.0007 | 0.51167 | 3.8e-05 | 1518 | 0.51036 | -6.16 | 0.75
Otterlake_6 | 0.081 | 0.0005 | 0.51192 | 3.1e-05 | 913 | 0.51143 | -0.51 | 0.61 | 2 s | 0.001 | 0.0001 | 2.6e-05 | 1.2e-05 |  | 2.6e-05 | 0.5 | [10 empty] | MKED_2 | 0.1299 | 0.0007 | 0.51166 | 3e-05 | 1518 | 0.51036 | -6.1 | 0.59
Otterlake_7 | 0.08 | 0.0005 | 0.51193 | 2.6e-05 | 913 | 0.51145 | -0.26 | 0.51 | [18 empty] | MKED_3 | 0.129 | 0.0007 | 0.51163 | 2.5e-05 | 1518 | 0.51034 | -6.58 | 0.49
Otterlake_8 | 0.0816 | 0.0005 | 0.51192 | 3e-05 | 913 | 0.51143 | -0.51 | 0.58 | [18 empty] | MKED_4 | 0.1291 | 0.0007 | 0.51164 | 2.6e-05 | 1518 | 0.51035 | -6.35 | 0.51
Otterlake_9 | 0.0807 | 0.0005 | 0.51193 | 3e-05 | 913 | 0.51144 | -0.33 | 0.59 | Session 16/06/2015 | [17 empty] | MKED_5 | 0.1317 | 0.0007 | 0.51164 | 2.8e-05 | 1518 | 0.51033 | -6.79 | 0.54
Otterlake_10 | 0.0818 | 0.0005 | 0.51193 | 2.5e-05 | 913 | 0.51144 | -0.35 | 0.49 | [18 empty] | MKED_7 | 0.1294 | 0.0007 | 0.51163 | 3.3e-05 | 1518 | 0.51034 | -6.58 | 0.65
Otterlake_11 | 0.0811 | 0.0005 | 0.51192 | 2.6e-05 | 913 | 0.51144 | -0.46 | 0.52 | Ap1 | 0.0816 | 0.0002 | 0.51137 | 4.2e-05 | 475 | 0.51111 | -17.8 | 0.82 | [9 empty] | MKED_8 | 0.1293 | 0.0007 | 0.51165 | 3.1e-05 | 1518 | 0.51036 | -6.23 | 0.6
Otterlake_12 | 0.0811 | 0.0005 | 0.51192 | 3e-05 | 913 | 0.51143 | -0.53 | 0.59 | Ap2 | 0.0811 | 0.0002 | 0.51134 | 3.8e-05 | 475 | 0.51109 | -18.34 | 0.75 | [9 empty] | MKED_9 | 0.1301 | 0.0007 | 0.51165 | 3e-05 | 1518 | 0.51036 | -6.29 | 0.58
Otterlake_13 | 0.0802 | 0.0005 | 0.51191 | 2.5e-05 | 913 | 0.51143 | -0.58 | 0.49 | Ap3 | 0.0812 | 0.0001 | 0.51131 | 3.5e-05 | 475 | 0.51106 | -18.89 | 0.68
Otterlake_14 | 0.0807 | 0.0005 | 0.51191 | 2.4e-05 | 913 | 0.51143 | -0.62 | 0.48 | Ap4 | 0.0815 | 0.0001 | 0.51133 | 3.4e-05 | 475 | 0.51108 | -18.53 | 0.66 | [9 empty] | Average | 0.1299 | 0.0007 | 0.51165 | 3e-05 | 1518 | 0.51035 | -6.39 | 0.59
Otterlake_15 | 0.0812 | 0.0005 | 0.51192 | 2.6e-05 | 913 | 0.51143 | -0.5 | 0.51 | Ap5 | 0.0811 | 0.0003 | 0.51133 | 3.6e-05 | 475 | 0.51108 | -18.47 | 0.7 | [9 empty] | 2 s | 0.0018 | 0 | 2.7e-05 | 8e-06 |  | 2.4e-05 | 0.48 | 0.08
[9 empty] | Ap6 | 0.0808 | 0.0002 | 0.5113 | 3.9e-05 | 475 | 0.51105 | -19.07 | 0.76
Average | 0.0806 | 0.0005 | 0.51192 | 2.8e-05 | 913 | 0.51143 | -0.51 | 0.55 | Ap7 | 0.0793 | 0.0003 | 0.51138 | 3.3e-05 | 475 | 0.51113 | -17.48 | 0.65
2 s | 0.0015191 | 0 | 2.3e-05 | 7e-06 |  | 1.7e-05 | 0.32 |  | Ap8 | 0.0814 | 0.0002 | 0.51133 | 3.4e-05 | 475 | 0.51108 | -18.49 | 0.66 | [9 empty] | Session 09/05/2017
Session 09/05/2017 | [8 empty] | Average | 0.081 | 0.0002 | 0.51134 | 3.6e-05 | 475 | 0.51109 | -18.38 | 0.71 | [9 empty] | MKED_1 | 0.1296 | 0.0002 | 0.51162 | 3.2e-05 | 1518 | 0.51032 | -6.95 | 0.63
[9 empty] | 2 s | 0.0015 | 0.0002 | 5.2e-05 | 6e-06 |  | 5.4e-05 | 1.05 | 0.12 | [9 empty] | MKED_2 | 0.1296 | 0.0003 | 0.51163 | 3.2e-05 | 1518 | 0.51034 | -6.68 | 0.63
Otterlake_1 | 0.0804 | 0.0002 | 0.51192 | 2.4e-05 | 913 | 0.51144 | -0.35 | 0.47 | [18 empty] | MKED_3 | 0.1295 | 0.0003 | 0.51167 | 3.8e-05 | 1518 | 0.51038 | -5.78 | 0.74
Otterlake_2 | 0.0813 | 0.0003 | 0.5119 | 2e-05 | 913 | 0.51141 | -0.89 | 0.39 | [18 empty] | MKED_4 | 0.1294 | 0.0003 | 0.51165 | 3.2e-05 | 1518 | 0.51035 | -6.31 | 0.62
Otterlake_3 | 0.0811 | 0.0003 | 0.51192 | 2.3e-05 | 913 | 0.51143 | -0.57 | 0.45 | [18 empty] | MKED_5 | 0.1305 | 0.0003 | 0.51162 | 3.8e-05 | 1518 | 0.51032 | -7 | 0.73
Otterlake_4 | 0.0804 | 0.0003 | 0.51191 | 2e-05 | 913 | 0.51143 | -0.67 | 0.39 | [18 empty] | MKED_6 | 0.1302 | 0.0003 | 0.5116 | 3.2e-05 | 1518 | 0.51031 | -7.25 | 0.63
Otterlake_5 | 0.081 | 0.0003 | 0.5119 | 2.5e-05 | 913 | 0.51141 | -0.89 | 0.49 | [18 empty] | MKED_7 | 0.1304 | 0.0004 | 0.51165 | 3.9e-05 | 1518 | 0.51035 | -6.33 | 0.77
Otterlake_6 | 0.0804 | 0.0002 | 0.51191 | 2.2e-05 | 913 | 0.51143 | -0.68 | 0.44 | [18 empty] | MKED_8 | 0.1291 | 0.0005 | 0.51164 | 3.3e-05 | 1518 | 0.51035 | -6.35 | 0.64
Otterlake_7 | 0.0795 | 0.0004 | 0.5119 | 1.8e-05 | 913 | 0.51143 | -0.66 | 0.36 | [18 empty] | MKED_9 | 0.1307 | 0.0005 | 0.51166 | 3.5e-05 | 1518 | 0.51036 | -6.21 | 0.7
Otterlake_8 | 0.0797 | 0.0004 | 0.51191 | 2e-05 | 913 | 0.51143 | -0.52 | 0.4 | [18 empty] | MKED_10 | 0.1285 | 0.0005 | 0.51165 | 3.3e-05 | 1518 | 0.51037 | -6.05 | 0.65
Otterlake_9 | 0.0796 | 0.0004 | 0.51192 | 1.9e-05 | 913 | 0.51144 | -0.33 | 0.36
[27 empty] | Average | 0.1298 | 0.0004 | 0.51164 | 3.4e-05 | 1518 | 0.51035 | -6.49 | 0.674
Average | 0.08038 | 0.0003 | 0.51191 | 2.1e-05 | 913 | 0.51143 | -0.62 | 0.42 | [18 empty] | 2 s | 0.0014 | 0.0002 | 4.4e-05 | 6e-06 |  | 4.7e-05 | 0.93
2 s | 0.0013 | 0.0002 | 1.7e-05 | 5e-06 |  | 2e-05 | 0.4
Session 16/06/2015
Otterlake1 | 0.0807 | 0.0001 | 0.51191 | 2.7e-05 | 913 | 0.51143 | -0.66 | 0.52
Otterlake2 | 0.0809 | 0.0001 | 0.51192 | 2.9e-05 | 913 | 0.51143 | -0.52 | 0.57
Otterlake2b | 0.0791 | 0.0002 | 0.51191 | 2.6e-05 | 913 | 0.51144 | -0.42 | 0.5
Otterlake3 | 0.0807 | 0.0003 | 0.51192 | 2.8e-05 | 913 | 0.51144 | -0.45 | 0.55
Otterlake3b | 0.0813 | 0.0001 | 0.51191 | 2.3e-05 | 913 | 0.51142 | -0.81 | 0.45
Otterlake4 | 0.0821 | 0.0001 | 0.51193 | 1.8e-05 | 913 | 0.51144 | -0.48 | 0.35
Otterlake5 | 0.0835 | 0.0002 | 0.51193 | 2.9e-05 | 913 | 0.51143 | -0.56 | 0.56
Otterlake7 | 0.0833 | 0.0002 | 0.51196 | 3.4e-05 | 913 | 0.51146 | -0.08 | 0.67
Otterlake8 | 0.0846 | 0.0008 | 0.51196 | 2.3e-05 | 913 | 0.51145 | -0.14 | 0.45
Otterlake9 | 0.0809 | 0.0006 | 0.51191 | 1.8e-05 | 913 | 0.51143 | -0.64 | 0.35
Otterlake10 | 0.0774 | 0.0007 | 0.51192 | 2.5e-05 | 913 | 0.51146 | 0.02 | 0.5
Average | 0.0813 | 0.0003 | 0.51193 | 2.5e-05 | 913 | 0.51144 | -0.43 | 0.5
2 s | 0.0041 | 0.0005 | 3.5e-05 | 1e-05 |  | 2.7e-05 | 0.52

## RT7-8b
Appendix DR3. Sm-Nd isotope data for apatite and lawsonite from sample RT7-8b.
mineral | sample no. | laser spot diameter | measured 147Sm/144Nd | 2 s | measured 145Nd/144Nd | 2 s | measured 143Nd/144Nd | 2 s | age (m.y.) | initial 143Nd/144Nd | eNd | 2 s
apatite | RT78b_ap1 | 60 | 0.1456 | 0.0032 | 0.34841 | 2.9e-05 | 0.51264 | 4.9e-05 | 42 | 0.5126 | 0.25 | 0.96
apatite | RT78b_ap2 | 60 | 0.1396 | 0.0031 | 0.34839 | 2.4e-05 | 0.51293 | 4.1e-05 | 42 | 0.51289 | 6.01 | 0.79
apatite | RT78b_ap3 | 60 | 0.1433 | 0.0032 | 0.3484 | 2.5e-05 | 0.51271 | 5.6e-05 | 42 | 0.51267 | 1.6 | 1.09
apatite | RT78b_ap4 | 60 | 0.1565 | 0.0034 | 0.34842 | 2e-05 | 0.51285 | 3.9e-05 | 42 | 0.5128 | 4.28 | 0.76
apatite | RT78b_ap5 | 44 | 0.1145 | 0.004 | 0.34842 | 5.6e-05 | 0.51282 | 8e-05 | 42 | 0.51279 | 3.96 | 1.55
apatite | RT78b_ap6* | 44 | 0.134 | 0.0053 | 0.3484 | 2.2e-05 | 0.51157 | 5.1e-05 | 42 | 0.51153 | -20.59 | 1
apatite | RT78b_ap7 | 60 | 0.1604 | 0.0035 | 0.3484 | 6.1e-05 | 0.51274 | 0.0001 | 42 | 0.5127 | 2.24 | 1.95
apatite | RT78b_ap8* | 60 | 0.1482 | 0.0033 | 0.34845 | 3.1e-05 | 0.51274 | 6.2e-05 | 42 | 0.5127 | 2.22 | 1.21
apatite | RT78b_ap9 | 120 | 0.1505 | 0.0008 | 0.34839 | 2e-05 | 0.5127 | 4.2e-05 | 42 | 0.51266 | 1.52 | 0.82
apatite | RT78b_ap10 | 120 | 0.1879 | 0.004 | 0.34844 | 5.1e-05 | 0.51286 | 6.2e-05 | 42 | 0.5128 | 4.29 | 1.21
apatite | RT78b_ap11 | 120 | 0.1656 | 0.0005 | 0.34839 | 2.7e-05 | 0.51287 | 4.9e-05 | 42 | 0.51282 | 4.61 | 0.95
apatite | RT78b_ap12 | 90 | 0.1456 | 0.0002 | 0.34844 | 2.1e-05 | 0.51273 | 3.8e-05 | 42 | 0.51269 | 2.07 | 0.74
apatite | RT78b_ap13 | 90 | 0.1461 | 0.0003 | 0.3484 | 1.7e-05 | 0.51268 | 2.8e-05 | 42 | 0.51265 | 1.2 | 0.54
apatite | RT78b_ap14 | 90 | 0.1624 | 0.0006 | 0.34841 | 3.2e-05 | 0.5128 | 6.1e-05 | 42 | 0.51276 | 3.43 | 1.19
apatite | RT78b_ap15 | 90 | 0.2126 | 0.0005 | 0.34841 | 3.7e-05 | 0.51269 | 5.9e-05 | 42 | 0.51263 | 0.87 | 1.16
apatite | RT78b_ap16 | 90 | 0.1468 | 0.0002 | 0.34842 | 1.2e-05 | 0.51269 | 3.1e-05 | 42 | 0.51265 | 1.31 | 0.6
apatite | RT78b_ap17 | 120 | 0.1468 | 0.0002 | 0.34842 | 1.9e-05 | 0.5127 | 4.1e-05 | 42 | 0.51266 | 1.49 | 0.8
apatite | RT78b_ap18 | 90 | 0.1468 | 0.0007 | 0.34841 | 2e-05 | 0.51269 | 3.6e-05 | 42 | 0.51265 | 1.32 | 0.71
apatite | RT78b_ap19 | 90 | 0.1453 | 0.0002 | 0.34844 | 2.3e-05 | 0.51269 | 3.9e-05 | 42 | 0.51265 | 1.24 | 0.75
apatite | RT78b_ap20 | 90 | 0.1606 | 0.0003 | 0.34842 | 3.7e-05 | 0.5129 | 7.1e-05 | 42 | 0.51286 | 5.3 | 1.39
apatite | RT78b_ap21 | 90 | 0.1456 | 0.0003 | 0.34844 | 1.7e-05 | 0.5127 | 4.4e-05 | 42 | 0.51266 | 1.4 | 0.85
apatite | RT78b_ap22 | 120 | 0.1822 | 0.0022 | 0.34836 | 6.2e-05 | 0.5127 | 0.000102 | 42 | 0.51265 | 1.36 | 1.99
apatite | RT78b_ap23 | 90 | 0.1472 | 0.0009 | 0.34839 | 3.2e-05 | 0.51265 | 6.4e-05 | 42 | 0.5126 | 0.42 | 1.25
apatite | RT78b_ap24 | 90 | 0.1556 | 0.0013 | 0.34842 | 5.7e-05 | 0.51269 | 8.7e-05 | 42 | 0.51265 | 1.25 | 1.7
apatite | RT78b_ap25 | 60 | 0.1579 | 0.0009 | 0.3484 | 3.5e-05 | 0.51284 | 5.9e-05 | 42 | 0.5128 | 4.17 | 1.14
apatite | RT78b_ap26 | 60 | 0.1446 | 0.0009 | 0.34843 | 3.2e-05 | 0.51278 | 5.7e-05 | 42 | 0.51274 | 2.96 | 1.12
apatite | RT78b_ap27 | 60 | 0.1571 | 0.0009 | 0.34839 | 2.6e-05 | 0.51282 | 5.4e-05 | 42 | 0.51278 | 3.82 | 1.05
lawsonite | RT78b_laws1 | 90 | 0.1906 | 0.0051 | 0.34842 | 5.9e-05 | 0.51272 | 9.8e-05 | 42 | 0.51266 | 1.54 | 1.92
lawsonite | RT78b_laws2 | 90 | 0.1593 | 0.0013 | 0.34839 | 3.3e-05 | 0.51269 | 6.5e-05 | 42 | 0.51265 | 1.19 | 1.26
lawsonite | RT78b_laws3 | 90 | 0.1916 | 0.0013 | 0.34842 | 3.6e-05 | 0.51264 | 4.9e-05 | 42 | 0.51259 | 0.08 | 0.96
lawsonite | RT78b_laws4 | 90 | 0.1891 | 0.002 | 0.3484 | 4e-05 | 0.51265 | 5.1e-05 | 42 | 0.5126 | 0.36 | 1
lawsonite | RT78b_laws5 | 90 | 0.1423 | 0.0012 | 0.34847 | 6.6e-05 | 0.51266 | 9.2e-05 | 42 | 0.51262 | 0.67 | 1.79
lawsonite | RT78b_laws6 | 90 | 0.1653 | 0.0011 | 0.34844 | 3.4e-05 | 0.51266 | 6e-05 | 42 | 0.51261 | 0.54 | 1.17
lawsonite | RT78b_laws7 | 90 | 0.1998 | 0.0029 | 0.34844 | 7e-05 | 0.5127 | 6.3e-05 | 42 | 0.51265 | 1.27 | 1.23
lawsonite | RT78b_laws8 | 90 | 0.1848 | 0.0028 | 0.34841 | 5.4e-05 | 0.51266 | 6.8e-05 | 42 | 0.51261 | 0.54 | 1.33
* distinct analysis of core zone of zoned apatite

## RT7-9b
Appendix DR3. Sm-Nd isotope data for apatite and lawsonite from sample RT7-9b.
mineral | sample no. | laser spot diameter | measured 147Sm/144Nd | 2 s | measured 145Nd/144Nd | 2 s | measured 143Nd/144Nd | 2 s | age (m.y.) | initial 143Nd/144Nd | eNd | 2 s
apatite | RT79b_ap1 | 60 | 0.2596 | 0.0064 | 0.34839 | 3.8e-05 | 0.5122 | 7.1e-05 | 42 | 0.51213 | -8.93 | 1.38
apatite | RT79b_ap2 | 120 | 0.3415 | 0.0011 | 0.34841 | 6.3e-05 | 0.51267 | 7.3e-05 | 42 | 0.51258 | -0.14 | 1.43
apatite | RT79b_ap3 | 90 | 0.1699 | 0.0011 | 0.3484 | 2.3e-05 | 0.51228 | 4e-05 | 42 | 0.51224 | -6.77 | 0.79
apatite | RT79b_ap4 | 120 | 0.461 | 0.0011 | 0.3484 | 4.9e-05 | 0.51266 | 6.9e-05 | 42 | 0.51254 | -0.93 | 1.35
lawsonite | RT79b_lws1 | 60 | 0.1267 | 0.0002 | 0.34837 | 7.2e-05 | 0.51259 | 5.7e-05 | 42 | 0.51256 | -0.52 | 1.11
lawsonite | RT79b_lws2 | 60 | 0.1289 | 0.0003 | 0.34842 | 3.6e-05 | 0.51264 | 5.1e-05 | 42 | 0.5126 | 0.39 | 1
lawsonite | RT79b_lws3 | 90 | 0.1292 | 0.0028 | 0.34842 | 2.8e-05 | 0.51272 | 5.9e-05 | 42 | 0.51268 | 1.86 | 1.14
lawsonite | RT79b_lws4 | 60 | 0.1245 | 0.0027 | 0.3484 | 3.6e-05 | 0.51264 | 8.3e-05 | 42 | 0.51261 | 0.45 | 1.61
lawsonite | RT79b_lws5 | 60 | 0.1296 | 0.0029 | 0.3484 | 5.4e-05 | 0.51266 | 5.6e-05 | 42 | 0.51262 | 0.8 | 1.09
lawsonite | RT79b_lws6 | 60 | 0.1321 | 0.0029 | 0.34839 | 3.7e-05 | 0.51263 | 7.1e-05 | 42 | 0.5126 | 0.27 | 1.38
lawsonite | RT79b_lws7 | 60 | 0.1265 | 0.0028 | 0.34843 | 4.7e-05 | 0.51258 | 4.3e-05 | 42 | 0.51255 | -0.75 | 0.83
lawsonite | RT79b_lws8 | 90 | 0.1265 | 0.0028 | 0.34843 | 4.5e-05 | 0.51269 | 5.6e-05 | 42 | 0.51265 | 1.37 | 1.09
lawsonite | RT79b_lws9 | 90 | 0.1294 | 0.0029 | 0.34844 | 9.4e-05 | 0.51263 | 4.2e-05 | 42 | 0.51259 | 0.18 | 0.83

## LCG-07
Appendix DR3. Sm-Nd isotope data for apatite and epidote from sample LCG-07
mineral | sample no. | laser spot diameter | measured 147Sm/144Nd | 2 s | measured 145Nd/144Nd | 2 s | measured 143Nd/144Nd | 2 s | age (m.y.) | initial 143Nd/144Nd | eNd | 2 s
apatite | LGC07ap1 | 160 | 0.2345 | 0.0014 | 0.34847 | 5.1e-05 | 0.51243 | 7.7e-05 | 42 | 0.51237 | -4.2 | 1.51
apatite | LGC07ap2 | 160 | 0.2207 | 0.0018 | 0.34843 | 4.8e-05 | 0.51234 | 5.9e-05 | 42 | 0.51228 | -5.94 | 1.15
apatite | LGC07ap3 | 160 | 0.2294 | 0.0014 | 0.34821 | 5.9e-05 | 0.51221 | 0.000103 | 42 | 0.51214 | -8.59 | 2
apatite | LGC07ap4 | 60 | 0.2286 | 0.0005 | 0.35844 | 6.6e-05 | 0.51238 | 8.6e-05 | 42 | 0.51232 | -5.16 | 1.67
apatite | LGC07ap5 | 160 | 0.2371 | 0.0007 | 0.34842 | 4.7e-05 | 0.51241 | 6.2e-05 | 42 | 0.51235 | -4.57 | 1.21
apatite | LGC07ap6 | 160 | 0.2509 | 0.0013 | 0.34837 | 7.6e-05 | 0.51237 | 0.000115 | 42 | 0.5123 | -5.52 | 2.24
apatite | LGC07ap7 | 160 | 0.2336 | 0.0008 | 0.34844 | 4.5e-05 | 0.51215 | 6.5e-05 | 42 | 0.51208 | -9.76 | 1.28
apatite | LGC07ap8 | 160 | 0.235 | 0.0012 | 0.34842 | 4.8e-05 | 0.51243 | 7.2e-05 | 42 | 0.51236 | -4.28 | 1.4
apatite | LGC07ap9 | 160 | 0.2189 | 0.0007 | 0.34839 | 5.4e-05 | 0.51224 | 7.2e-05 | 42 | 0.51218 | -7.85 | 1.41
apatite | LGC07ap10 | 160 | 0.2357 | 0.0017 | 0.3484 | 5e-05 | 0.51236 | 7.9e-05 | 42 | 0.51229 | -5.66 | 1.53
apatite | LGC07ap11 | 160 | 0.2337 | 0.0004 | 0.34842 | 4.1e-05 | 0.51238 | 7.4e-05 | 42 | 0.51231 | -5.27 | 1.43
apatite | LGC07ap12 | 160 | 0.2276 | 0.0003 | 0.3484 | 6.8e-05 | 0.51223 | 0.000112 | 42 | 0.51217 | -8.11 | 2.19
apatite | LGC07ap13 | 160 | 0.2525 | 0.0003 | 0.34849 | 7.9e-05 | 0.51252 | 0.000101 | 42 | 0.51245 | -2.62 | 1.97
apatite | LGC07ap14 | 160 | 0.257 | 0.0005 | 0.34843 | 4.5e-05 | 0.51238 | 7e-05 | 42 | 0.51231 | -5.26 | 1.36
apatite | LGC07ap15 | 160 | 0.2499 | 0.0005 | 0.34834 | 9.4e-05 | 0.51214 | 0.000118 | 42 | 0.51208 | -9.89 | 2.3
apatite | LGC07ap16 | 160 | 0.2354 | 0.0003 | 0.34838 | 7.1e-05 | 0.51256 | 6.5e-05 | 42 | 0.5125 | -1.67 | 1.26
apatite | LGC07ap17 | 160 | 0.2424 | 0.0002 | 0.34845 | 4.6e-05 | 0.51263 | 6e-05 | 42 | 0.51256 | -0.45 | 1.16
epidote | LGC07ep1 | 60 | 0.0941 | 0.001 | 0.3484 | 1.7e-05 | 0.51266 | 3.2e-05 | 42 | 0.51263 | 0.99 | 0.62
epidote | LGC07ep2 | 60 | 0.0924 | 0.0008 | 0.34841 | 2.4e-05 | 0.5125 | 4.4e-05 | 42 | 0.51247 | -2.16 | 0.85
epidote | LGC07ep3 | 60 | 0.0921 | 0.0006 | 0.34841 | 1.1e-05 | 0.51219 | 4.3e-05 | 42 | 0.51216 | -8.23 | 0.84
epidote | LGC07ep4 | 60 | 0.093 | 0.0004 | 0.34842 | 1.1e-05 | 0.51253 | 2.7e-05 | 42 | 0.5125 | -1.59 | 0.52
epidote | LGC07ep5 | 60 | 0.091 | 0.0004 | 0.34841 | 2.3e-05 | 0.5126 | 4.5e-05 | 42 | 0.51258 | -0.18 | 0.88
epidote | LGC07ep6 | 120 | 0.1188 | 0.0004 | 0.34843 | 3.5e-05 | 0.5122 | 5.3e-05 | 42 | 0.51217 | -8.08 | 1.04
epidote | LGC07ep7 | 120 | 0.1483 | 0.0028 | 0.3484 | 6e-05 | 0.51218 | 9.5e-05 | 42 | 0.51213 | -8.77 | 1.85
epidote | LGC07ep8 | 120 | 0.1379 | 0.0009 | 0.34844 | 4.1e-05 | 0.5122 | 5.5e-05 | 42 | 0.51216 | -8.19 | 1.07
epidote | LGC07ep9 | 120 | 0.131 | 0.0004 | 0.3484 | 2.8e-05 | 0.5123 | 5.2e-05 | 42 | 0.51226 | -6.27 | 1.01
epidote | LGC07ep10 | 120 | 0.1338 | 0.0003 | 0.34844 | 3.4e-05 | 0.51233 | 5.6e-05 | 42 | 0.51229 | -5.73 | 1.09

## LCG-09
Appendix DR3. Sm-Nd isotope data for apatite and epidote from sample LCG-09
mineral | sample no. | laser spot diameter | measured 147Sm/144Nd | 2 s | measured 145Nd/144Nd | 2 s | measured 143Nd/144Nd | 2 s | age (m.y.) | initial 143Nd/144Nd | eNd | 2 s
apatite | LGC09_ap1 | 160 | 0.2213 | 0.0012 | 0.34845 | 3.2e-05 | 0.51213 | 5.9e-05 | 42 | 0.51206 | -10.13 | 1.15
apatite | LGC09_ap2 | 160 | 0.2274 | 0.0024 | 0.34843 | 3.6e-05 | 0.51216 | 7.3e-05 | 42 | 0.5121 | -9.5 | 1.43
apatite | LGC09_ap3 | 160 | 0.2074 | 0.0013 | 0.34841 | 4e-05 | 0.51214 | 6.3e-05 | 42 | 0.51209 | -9.7 | 1.23
apatite | LGC09_ap4 | 160 | 0.2293 | 0.0014 | 0.34845 | 6.3e-05 | 0.51216 | 9e-05 | 42 | 0.51209 | -9.55 | 1.75
apatite | LGC09_ap5 | 160 | 0.2108 | 0.0012 | 0.34844 | 3.8e-05 | 0.51214 | 7.2e-05 | 42 | 0.51208 | -9.89 | 1.41
apatite | LGC09_ap6 | 160 | 0.2188 | 0.0013 | 0.34845 | 4e-05 | 0.51221 | 7.4e-05 | 42 | 0.51214 | -8.56 | 1.45
apatite | LGC09_ap7 | 160 | 0.2336 | 0.0013 | 0.3484 | 2.7e-05 | 0.51214 | 5e-05 | 42 | 0.51207 | -9.92 | 0.98
apatite | LGC09_ap8 | 160 | 0.2171 | 0.0012 | 0.3484 | 2.2e-05 | 0.51215 | 4.2e-05 | 42 | 0.51209 | -9.65 | 0.81
apatite | LGC09_ap9 | 160 | 0.2104 | 0.0012 | 0.34848 | 3.2e-05 | 0.5122 | 5.9e-05 | 42 | 0.51214 | -8.6 | 1.15
apatite | LGC09_ap10 | 160 | 0.2126 | 0.0012 | 0.34842 | 2.1e-05 | 0.51216 | 4.9e-05 | 42 | 0.5121 | -9.48 | 0.96
apatite | LGC09_ap11 | 120 | 0.2098 | 0.0012 | 0.34841 | 4.1e-05 | 0.51218 | 5.2e-05 | 42 | 0.51213 | -8.94 | 1.02
apatite | LGC09_ap12 | 120 | 0.2252 | 0.0013 | 0.34839 | 5.4e-05 | 0.51221 | 9.6e-05 | 42 | 0.51214 | -8.56 | 1.87
apatite | LGC09_ap13 | 120 | 0.1834 | 0.001 | 0.34838 | 2.9e-05 | 0.51213 | 4.9e-05 | 42 | 0.51208 | -9.79 | 0.96
epidote | LGC09_ep1 | 60 | 0.0809 | 0.0002 | 0.34842 | 6.8e-05 | 0.51214 | 2e-05 | 42 | 0.51211 | -9.2 | 0.39
epidote | LGC09_ep2 | 60 | 0.1069 | 0.2121 | 0.34836 | 7e-06 | 0.51218 | 1.9e-05 | 42 | 0.51215 | -8.5 | 0.38
epidote | LGC09_ep3 | 60 | 0.1033 | 0.0016 | 0.34843 | 8e-06 | 0.51218 | 2.3e-05 | 42 | 0.51215 | -8.39 | 0.45
epidote | LGC09_ep4 | 60 | 0.0974 | 0.0002 | 0.34842 | 9e-06 | 0.51214 | 1.7e-05 | 42 | 0.51211 | -9.18 | 0.33
epidote | LGC09_ep5 | 60 | 0.1095 | 0.0024 | 0.34842 | 1.2e-05 | 0.51219 | 2.6e-05 | 42 | 0.51216 | -8.29 | 0.51
epidote | LGC09_ep6 | 60 | 0.1056 | 0.0004 | 0.34841 | 1.7e-05 | 0.51217 | 2.8e-05 | 42 | 0.51214 | -8.61 | 0.54
epidote | LGC09_ep7 | 44 | 0.0912 | 0.0004 | 0.34842 | 1.4e-05 | 0.51216 | 2.9e-05 | 42 | 0.51214 | -8.68 | 0.56
epidote | LGC09_ep8 | 90 | 0.1275 | 0.0008 | 0.34844 | 1.3e-05 | 0.51219 | 2.8e-05 | 42 | 0.51216 | -8.26 | 0.54
epidote | LGC09_ep9 | 60 | 0.1216 | 0.0008 | 0.34842 | 2e-05 | 0.51219 | 3.3e-05 | 42 | 0.51216 | -8.29 | 0.64
epidote | LGC09_ep10 | 60 | 0.1163 | 0.0003 | 0.34842 | 1e-05 | 0.51216 | 1.9e-05 | 42 | 0.51213 | -8.89 | 0.38
epidote | LGC09_ep11 | 120 | 0.1464 | 0.0004 | 0.34849 | 1.8e-05 | 0.51222 | 3.1e-05 | 42 | 0.51218 | -7.92 | 0.61
epidote | LGC09_ep12 | 90 | 0.1192 | 0.0003 | 0.34848 | 2e-05 | 0.51218 | 3.8e-05 | 42 | 0.51214 | -8.58 | 0.74
epidote | LGC09_ep13 | 44 | 0.1068 | 0.0013 | 0.34848 | 3.2e-05 | 0.51226 | 4.9e-05 | 42 | 0.51223 | -6.83 | 0.96
epidote | LGC09_ep14 | 120 | 0.1142 | 0.0005 | 0.34843 | 1.8e-05 | 0.51211 | 3.4e-05 | 42 | 0.51208 | -9.82 | 0.66
epidote | LGC09_ep15 | 120 | 0.1233 | 0.0003 | 0.34843 | 1.9e-05 | 0.51216 | 3.5e-05 | 42 | 0.51213 | -8.91 | 0.68

## DM3
Appendix DR3. Sm-Nd isotope data for monazite from sample DM3.
grain cluster | sample no. | laser spot diameter | measured 147Sm/144Nd | 2 s | measured 145Nd/144Nd | 2 s | measured 143Nd/144Nd | 2 s | age (m.y.) | initial 143Nd/144Nd | eNd | 2 s
1 | DM3 mz1a | 16 | 0.0885 | 0.0012 | 0.34841 | 3.8e-05 | 0.51198 | 2.6e-05 | 35 | 0.51196 | -12.32 | 0.5
1 | DM3 mz1b | 16 | 0.0803 | 0.0006 | 0.34841 | 1.1e-05 | 0.51198 | 2.8e-05 | 35 | 0.51196 | -12.39 | 0.55
1 | DM3 mz1c | 16 | 0.1231 | 0.0048 | 0.34842 | 8e-06 | 0.512 | 3.1e-05 | 35 | 0.51197 | -12.06 | 0.61
1 | DM3 mz1d | 16 | 0.1141 | 0.0036 | 0.34842 | 9e-06 | 0.51198 | 2.6e-05 | 35 | 0.51195 | -12.53 | 0.51
2 | DM3 mz2 | 16 | 0.0892 | 0.0004 | 0.34841 | 1.7e-05 | 0.51198 | 3.4e-05 | 35 | 0.51196 | -12.28 | 0.65
3 | DM3 mz3a | 16 | 0.0789 | 0.0004 | 0.34841 | 8e-06 | 0.51196 | 2e-05 | 35 | 0.51194 | -12.71 | 0.38
3 | DM3 mz3b | 24 | 0.0748 | 0.0005 | 0.34841 | 8e-06 | 0.51197 | 2e-05 | 35 | 0.51196 | -12.39 | 0.38
3 | DM3 mz3c | 24 | 0.0805 | 0.0001 | 0.34841 | 1e-05 | 0.51198 | 2.3e-05 | 35 | 0.51196 | -12.32 | 0.45
4 | DM3 mz4a | 16 | 0.0667 | 0.0002 | 0.34842 | 9e-06 | 0.51201 | 2.2e-05 | 35 | 0.512 | -11.57 | 0.42
4 | DM3 mz4b | 16 | 0.0719 | 0.0004 | 0.34841 | 9e-06 | 0.51203 | 2.3e-05 | 35 | 0.51202 | -11.25 | 0.45
4 | DM3 mz4c | 16 | 0.0709 | 0.0004 | 0.34841 | 8e-06 | 0.51203 | 2.6e-05 | 35 | 0.51201 | -11.38 | 0.5
4 | DM3 mz4d | 44 | 0.0693 | 0.0002 | 0.34841 | 2.6e-05 | 0.51202 | 1.6e-05 | 35 | 0.512 | -11.51 | 0.32
4 | DM3 mz4e | 24 | 0.0688 | 0.0003 | 0.34841 | 7e-06 | 0.51204 | 2e-05 | 35 | 0.51202 | -11.14 | 0.4
5 | DM3 mz5a | 16 | 0.1716 | 0.0039 | 0.34841 | 9e-06 | 0.51196 | 2.8e-05 | 35 | 0.51192 | -13.09 | 0.55
5 | DM3 mz5b | 16 | 0.1147 | 0.0012 | 0.34841 | 8e-06 | 0.51195 | 3.8e-05 | 35 | 0.51192 | -13.05 | 0.75
5 | DM3 mz5c | 44 | 0.104 | 0.0002 | 0.34841 | 7e-06 | 0.51195 | 1.4e-05 | 35 | 0.51192 | -13.02 | 0.27
5 | DM3 mz5d | 24 | 0.1346 | 0.0064 | 0.34841 | 5e-06 | 0.51197 | 1.8e-05 | 35 | 0.51194 | -12.74 | 0.35
6 | DM3 mz6a | 24 | 0.13 | 0.0035 | 0.34841 | 8e-06 | 0.51196 | 1.9e-05 | 35 | 0.51193 | -12.9 | 0.37
6 | DM3 mz6b | 24 | 0.0794 | 0.0008 | 0.34841 | 1.2e-05 | 0.51196 | 3.6e-05 | 35 | 0.51195 | -12.62 | 0.7
6 | DM3 mz6c | 16 | 0.0881 | 0.0002 | 0.34841 | 8e-06 | 0.51197 | 1.8e-05 | 35 | 0.51196 | -12.45 | 0.35
6 | DM3 mz6d | 24 | 0.0853 | 0.0007 | 0.3484 | 6e-06 | 0.51194 | 1.7e-05 | 35 | 0.51192 | -13.13 | 0.33
6 | DM3 mz6e | 24 | 0.0939 | 0.0005 | 0.34841 | 7e-06 | 0.51193 | 1.8e-05 | 35 | 0.51191 | -13.27 | 0.36
7 | DM3 mz7a | 24 | 0.1353 | 0.0013 | 0.34841 | 8e-06 | 0.51196 | 1.3e-05 | 35 | 0.51193 | -12.94 | 0.25
7 | DM3 mz7b | 24 | 0.1384 | 0.0018 | 0.3484 | 8e-06 | 0.51195 | 1.6e-05 | 35 | 0.51192 | -13.12 | 0.32
7 | DM3 mz7c | 24 | 0.1266 | 0.0022 | 0.34841 | 7e-06 | 0.51196 | 1.7e-05 | 35 | 0.51193 | -12.93 | 0.34
7 | DM3 mz7d | 24 | 0.1014 | 0.0019 | 0.34841 | 8e-06 | 0.51196 | 2.1e-05 | 35 | 0.51194 | -12.73 | 0.41
7 | DM3 mz7e | 24 | 0.1188 | 0.0018 | 0.34841 | 7e-06 | 0.51195 | 2.1e-05 | 35 | 0.51193 | -13 | 0.41
7 | DM3 mz7f | 24 | 0.1519 | 0.0018 | 0.34841 | 7e-06 | 0.51195 | 2e-05 | 35 | 0.51191 | -13.25 | 0.39
8 | DM3 mz8a | 24 | 0.1187 | 0.0031 | 0.34841 | 6e-06 | 0.51198 | 1.7e-05 | 35 | 0.51195 | -12.56 | 0.32
8 | DM3 mz8b | 24 | 0.0834 | 0.0008 | 0.34841 | 8e-06 | 0.51197 | 3.1e-05 | 35 | 0.51195 | -12.49 | 0.6
8 | DM3 mz8c | 24 | 0.0835 | 0.0004 | 0.34841 | 7e-06 | 0.51198 | 3.6e-05 | 35 | 0.51197 | -12.25 | 0.7
8 | DM3 mz8d | 24 | 0.0848 | 0.0005 | 0.34841 | 6e-06 | 0.51197 | 2.1e-05 | 35 | 0.51195 | -12.55 | 0.4
8 | DM3 mz8e | 24 | 0.1347 | 0.0025 | 0.34841 | 9e-06 | 0.51201 | 1.7e-05 | 35 | 0.51197 | -12.08 | 0.32
9 | DM3 mz9 | 24 | 0.1218 | 0.0012 | 0.34841 | 9e-06 | 0.51199 | 2.3e-05 | 35 | 0.51196 | -12.36 | 0.45
10 | DM3 mz10a | 24 | 0.1092 | 0.0005 | 0.34841 | 9e-06 | 0.51205 | 2.6e-05 | 35 | 0.51202 | -11.16 | 0.51
10 | DM3 mz10b | 24 | 0.1 | 0.0007 | 0.34842 | 9e-06 | 0.51203 | 3.1e-05 | 35 | 0.51201 | -11.46 | 0.6
10 | DM3 mz10c | 24 | 0.1084 | 0.0004 | 0.34841 | 7e-06 | 0.51203 | 2.2e-05 | 35 | 0.512 | -11.55 | 0.42