## AMS data
Purdue Rare Isotope Measurement Lab
Purdue University, West Lafayette, IN 47907, USA
Marc Caffee, Director
www.primelab.purdue.edu
Date: | 2014-11-25
Significant Digits: If leading digit in uncertainty is 1 or 2 retain 2 digits otherwise retain 1. Ratios have same number of digits as corresponding uncertainty.
Notes: (A) Low Current; (B) High Interference – at least two measurements unusable
References: Sharma P., et al (1990). Nucl. Inst. And Meth. B, 52(3-4), 410-415. | K. Nishiizumi, et al (2007). Nucl Inst and Meth B 258, 403–413.
Prepared by: Thomas Woodruff |  | woodruft@purdue.edu
ID | Name | 10Be/9Be (10-15) | Uncertainty (10-15) | Avg. 9Be Current (nanoAmps) | Notes
201403355 | 58-GVLCI2-36-1 | 1318.7 | 32.2289 | 4039 |  | 2.444%
201403356 | 58-GVLCI2-36-2 | 541.607 | 12.3625 | 4181 |  | 2.283%
201403357 | 58-GVLCI2-37-1 | 518.268 | 13.1461 | 4504 |  | 2.537%
201403358 | 58-GVLCI2-38-1 | 159.393 | 6.0578 | 3814 |  | 3.801%
201403359 | 58-Blank-A | 1.1553 | 0.51694 | 4275 |  | 44.75%

## ratio to atoms
sample | raw ratio | error | bkg-corrected ratio | ratio error | error (%) | carrier conc. | carrier added (g) | quartz | grams of 9Be | 9Be atoms | 10Be atoms | 10Be atoms/g | ± atoms/g
58-GVLCI2-36-1 | 1318.7 | 32.23 | 1.3175e-12 | 3.223e-14 | 2.446% | 405.4 | 0.5992 | 22.6698 | 0.00024292 | 1.6232e+19 | 21386461.1065 | 943389.9331 | 23077.4455
58-GVLCI2-36-2 | 541.61 | 12.36 | 5.4045e-13 | 1.236e-14 | 2.287% | 405.4 | 0.5984 | 14.8357 | 0.00024259 | 1.621e+19 | 8760934.1998 | 590530.558 | 13505.3339
58-GVLCI2-37-1 | 518.27 | 13.15 | 5.1711e-13 | 1.315e-14 | 2.543% | 405.4 | 0.6024 | 19.7901 | 0.00024421 | 1.6319e+19 | 8438615.7532 | 426405.9178 | 10843.414
58-GVLCI2-38-1 | 159.39 | 6.06 | 1.5823e-13 | 6.06e-15 | 3.83% | 405.4 | 0.6011 | 8.7886 | 0.00024369 | 1.6284e+19 | 2576551.7432 | 293169.7589 | 11228.0145
58-Blank-A | 1.16 | 0.52
|  |  | 1.32 ± 0.32 |  |  | 0.4054 | 0.24292
|  |  | 5.40 ± 0.12 |  |  | 0.4054 | 0.24259
|  |  | 5.17 ± 0.13 |  |  | 0.4054 | 0.24421
|  |  | 1.58 ± 0.06 |  |  | 0.4054 | 0.24369

## CRONUS input
sample | lat | long | elevation | air pressure | thickness | density | shielding | erosion | [Be] | [Be] unc. | Be std | [Al] | [Al] unc. | Al std
58-GVLCI2-36-1 | 38.3814 | 116.0722 | 1818 | std | 5 | 2.65 | 0.896 | 0 | 943389.9331 | 23077.4455 | 07KNSTD | 0 | 0 | KNSTD
58-GVLCI2-36-2 | 38.3814 | 116.0722 | 1818 | std | 2.5 | 2.65 | 0.896 | 0 | 590530.558 | 13505.3339 | 07KNSTD | 0 | 0 | KNSTD
58-GVLCI2-37-1 | 38.371 | 116.0639 | 1843 | std | 1.5 | 2.65 | 1 | 0 | 426405.9178 | 10843.414 | 07KNSTD | 0 | 0 | KNSTD
58-GVLCI2-38-1 | 38.3888 | 116.0686 | 1838 | std | 2 | 2.65 | 1 | 0 | 293169.7589 | 11228.0145 | 07KNSTD | 0 | 0 | KNSTD
| 38 | 22.886 | 0.38143 | 116 | 4.335 | 0.07225 |  | 38.3814 | 116.0722
| 38 | 22.258 | 0.37097 | 116 | 3.835 | 0.063917 |  | 38.371 | 116.0639
| 38 | 23.33 | 0.38883 | 116 | 4.116 | 0.0686 |  | 38.3888 | 116.0686
samples 36-1, 36-2 |  |  |  | sample 38-1
Shielding calculation |  |  |  | Shielding calculation
Sector of horizon | Shielded elevation | Fraction |  | Sector of horizon | Shielded elevation | Fraction
(must total 360 degrees) | (degrees) | of flux |  | (must total 360 degrees) | (degrees) | of flux
90 | 50 | 0.14625 |  | 60 | 8 | 0.16642
30 | 10 | 0.083075 |  | 300 | 0 | 0.83333
240 | 0 | 0.66667 |  | 0 | 0 | 0
0 | 0 | 0 |  | 0 | 0 | 0
0 | 0 | 0 |  | 0 | 0 | 0
0 | 0 | 0 |  | 0 | 0 | 0
total must = 360 |  | shielding factor |  | total must = 360 |  | shielding factor
360 |  | 0.89599 |  | 360 |  | 0.99975

## CRONUS output
CRONUS-Earth 10Be - 26Al exposure age calculator -- results
Version information -- | Component | Version
| Wrapper script: | 2.2
| Main calculator: | 2.1
| Constants: | 2.2.1
| Muons: | 1.1
Comments:
Production rate calibration information: | Using user-supplied calibration data set
Name: Balco et al 2009 NE North America
Trace string: Calc date: 15-Oct-2013 Versions: Cal 2.2-cal-dev P10fit 2.2-dev Get-age 2.1 Muons 1.1 Consts 2.2.1
10Be results:
Results not dependent on spallogenic production rate model: |  |  |  |  | Exposure ages -- constant production rate model:
Scaling scheme for spallation: Lal(1991) / Stone(2000)
Sample name | Thickness | Shielding | Production rate | Internal | Exposure age | External | Production rate
| scaling | factor | (muons) | uncertainty | (yr) | uncertainty | (spallation)
| factor |  | (atoms/g/yr) | (yr) |  | (yr) | (atoms/g/yr)
58-GVLCI2-36-1 | 0.9597 | 0.896 | 0.325 | 1797 | 72155 | 3956 | 12.99 | ± | 58-GVLCI2-36-1 | 72155±3956
58-GVLCI2-36-2 | 0.9796 | 0.896 | 0.327 | 1016 | 43956 | 2362 | 13.26 | ± | 58-GVLCI2-36-2 | 43956±2362
58-GVLCI2-37-1 | 0.9877 | 1 | 0.331 | 709 | 27681 | 1513 | 15.18 | ± | 58-GVLCI2-37-1 | 27681±1513
58-GVLCI2-38-1 | 0.9836 | 1 | 0.33 | 736 | 19127 | 1180 | 15.07 | ± | 58-GVLCI2-38-1 | 19127±1180
Exposure ages -- time-varying production models:
Scaling scheme | Desilets and others |  | Dunai |  | Lifton and others |  | Time-dependent
for spallation: | -20032006 |  | -2001 |  | -2005 |  | Lal (1991)/Stone (2000)
Sample name | Exposure age | External | Exposure age | External | Exposure age | External | Exposure age | External
| (yr) | uncertainty (yr) | (yr) | uncertainty (yr) | (yr) | uncertainty (yr) | (yr) | uncertainty (yr)
58-GVLCI2-36-1 | 64755 | 3591 | 63946 | 3551 | 63613 | 3522 | 66865 | 3685
58-GVLCI2-36-2 | 39586 | 2154 | 39260 | 2139 | 38962 | 2117 | 40723 | 2201
58-GVLCI2-37-1 | 26006 | 1440 | 25857 | 1434 | 25745 | 1424 | 26655 | 1466
58-GVLCI2-38-1 | 18441 | 1149 | 18480 | 1153 | 18308 | 1139 | 18800 | 1165
26Al results:
Results not dependent on spallogenic production rate model: |  |  |  |  | Exposure ages -- constant production rate model:
Scaling scheme for spallation: Lal(1991) / Stone(2000)
Sample name | Thickness | Shielding | Production rate | Internal | Exposure age | External | Production rate
| scaling | factor | (muons) | uncertainty | (yr) | uncertainty | (spallation)
| factor |  | (atoms/g/yr) | (yr) |  | (yr) | (atoms/g/yr)
58-GVLCI2-36-1 | -- | -- | -- | -- | -- | -- | --
58-GVLCI2-36-2 | -- | -- | -- | -- | -- | -- | --
58-GVLCI2-37-1 | -- | -- | -- | -- | -- | -- | --
58-GVLCI2-38-1 | -- | -- | -- | -- | -- | -- | --
Exposure ages -- time-varying production models:
Scaling scheme | Desilets and others |  | Dunai |  | Lifton and others |  | Time-dependent
for spallation: | -20032006 |  | -2001 |  | -2005 |  | Lal (1991)/Stone (2000)
Sample name | Exposure age | External | Exposure age | External | Exposure age | External | Exposure age | External
| (yr) | uncertainty (yr) | (yr) | uncertainty (yr) | (yr) | uncertainty (yr) | (yr) | uncertainty (yr)
58-GVLCI2-36-1 | -- | -- | -- | -- | -- | --
58-GVLCI2-36-2 | -- | -- | -- | -- | -- | --
58-GVLCI2-37-1 | -- | -- | -- | -- | -- | --
58-GVLCI2-38-1 | -- | -- | -- | -- | -- | --
(No Al-26 / Be-10 plot) | 26Al/10Be ratios (relative to 07KNSTD!):
| Sample | 26Al/10Be
ratio
| 58-GVLCI2-36-1 | --
| 58-GVLCI2-36-2 | --
| 58-GVLCI2-37-1 | --
| 58-GVLCI2-38-1 | --

## input for CRONUS Calc website
CRONUS Earth 10Be/26Al Web Calculator Data Entry Template
Data can be entered in this file and then selected and copied directly into the online calculator
Sample Name | Scaling | Latitude | Longitude | Elevation | Pressure | Atmospheric Pressure or Elevation(Select One) | Sample Thickness | Bulk Density | Shielding Factor | Erosion Rate | Conc. 10Be | 10Be Standardization | Conc. 26Al | 26Al Standardization | Attenuation length | Depth to Top of Sample | Year Collected | Latitude Uncertainty | Longitude Uncertainty | Elevation Uncertainty | Pressure Uncertainty | Sample Thickness Uncertainty | Bulk Density Uncertainty | Shielding Factor Uncertainty | Erosion-Rate Uncertainty | Conc. 10Be Uncertainty | Conc. 26Al Uncertainty | Attenuation Length Uncertainty | Depth to Top of Sample Uncertainty | Year Collected Uncertainty
| (Select One of the Following) | decimal degrees | decimal degrees | meters | hPa | (Select One of the Following) | cm | g/cm^3 | unitless | mm/kyr | Atoms/g of sample | (Select One of the Following) | Atoms/g of sample | (Select One of the Following) | g/cm^2 | g/cm^2 | Year A.D. | decimal degrees | decimal degrees | meters | hPa | cm | g/cm^3 | unitless | mm/kyr | Atoms/g of sample | Atoms/g of sample | g/cm^2 | g/cm^2 | Year A.D.
An identifying sample name | DE - Desilets and Zreda DU - Dunai time dependent scaling LI - Lifton LM - Lal/Stone time dependent scaling SA - Lifton-Sato-Dunai nuclide and time dependent scaling SF - Lifton-Sato-Dunai flux time dependent ST - Lal/Stone time independent |  |  |  |  | Elevation Pressure Both |  |  | for terrain, snow, etc. |  | atoms of 10-Be per gram of sample | 07KNSTD, KNSTD, NIST_Certified, NIST_30000, NIST_30200, NIST_30300, NIST_30600, NIST_27900, S555, S2007, BEST433, BEST433N, S555N, S2007N, LLNL31000, LLNL10000, LLNL3000, LLNL1000, LLNL30 | atoms of 26-Al per gram of sample | KNSTD, AL09, ZAL94, ZAL94N, SMAL11, Z92_0222, None
Sample name | Scaling | Latitude | Longitude | Elevation |  | Elv/pressure | Thickness | Density | Shielding | Erosion rate | [Be-10] | Be AMS | [Al-26] | Al AMS | Attenuation length | Depth to Top of Sample | Year Collected | Latitude Uncertainty | Longitude Uncertainty | Elevation Uncertainty | Pressure Uncertainty | Sample Thickness Uncertainty | Bulk Density Uncertainty | Shielding Factor Uncertainty | Erosion-Rate Uncertainty | Conc. 10Be Uncertainty | Conc. 26Al Uncertainty | Attenuation Length Uncertainty | Depth to Top of Sample Uncertainty | Year Collected Uncertainty
|  | (DD) | (DD) | (masl) |  | flag | (cm) | (g/cm3) | correction | (mm/kyr) | (atoms/g) | standard | (atoms/g) | standard | (g/cm2) | (g/cm2) | (year A.D.) | decimal degrees | decimal degrees | meters | hPa | cm | g/cm^3 | unitless | mm/kyr | Atoms/g of sample | Atoms/g of sample | g/cm^2 | g/cm^2 | Year A.D. | CRONUScalc RESULTS
Eightmile moraine (10Be) | [30 empty] | Sample Name | Age (Be) | Total Uncertainty (Be) | Erosion Rate | Scaling Be Spallation | Scaling Fast Muons (Be) | Scaling Slow Muons (Be) | Production Be Spallation | Production Muon Spallation (Be) | Qs (Be) | Qmu (Be) | Analytical (Internal) Uncertainty (Be)
8-A2 | SA | 45.432 | -110.7004 | 1548 |  | Elevation | 1 | 2.7 | 1 | 0 | 193929.2048 | NIST_Certified | 0 | KNSTD |  | 0 | 1997 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14544.6904 | 0 | 0 | 0 | 0 | 8-A2 | 14.5 | 1.5 | 0 | 3.6747 | 1.9217 | 1.9217 | 14.2797 | 0.11692 | 0.99139 | 0.99864 | 0.95908
58-GVLCI2-36-1 | SA | 38.3814 | -116.0722 | 1818 |  | Elevation | 5 | 2.65 | 0.896 | 0 | 943389.9331 | NIST_Certified | 1 | KNSTD |  | 0 | 2011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 23077.4455 | 0 | 0 | 0 | 0
58-GVLCI2-36-2 | SA | 38.3814 | -116.0722 | 1818 |  | Elevation | 2.5 | 2.65 | 0.896 | 0 | 590530.558 | NIST_Certified | 2 | KNSTD |  | 0 | 2011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13505.3339 | 0 | 0 | 0 | 0
58-GVLCI2-37-1 | SA | 38.371 | -116.0639 | 1843 |  | Elevation | 1.5 | 2.65 | 1 | 0 | 426405.9178 | NIST_Certified | 3 | KNSTD |  | 0 | 2011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10843.414 | 0 | 0 | 0 | 0
58-GVLCI2-38-1 | SA | 38.3888 | -116.0686 | 1838 |  | Elevation | 2 | 2.65 | 1 | 0 | 293169.7589 | NIST_Certified | 4 | KNSTD |  | 0 | 2011 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11228.0145 | 0 | 0 | 0 | 0

## CRONUS Calc results
Sample Name | Age (Be) | Total Uncertainty (Be) | Erosion Rate | Scaling Be Spallation | Scaling Fast Muons (Be) | Scaling Slow Muons (Be) | Production Be Spallation | Production Muon Spallation (Be) | Qs (Be) | Qmu (Be) | Analytical (Internal) Uncertainty (Be) | Age (Al) | Total Uncertainty (Al) | Erosion Rate | Scaling Al Spallation | Scaling Fast Muons (Al) | Scaling Slow Muons (Al) | Production Al Spallation | Production Muon Spallation (Al) | Qs (Al) | Qmu (Al) | Analytical (Internal) Uncertainty (Al)
58-GVLCI2-36-1 | 73.7 | 5.9 | 0 | 4.1124 | 2.0262 | 2.0262 | 13.8488 | 0.10911 | 0.9592 | 0.98817 | 1.4961 | 1.0032e-05 | 1.1e-06 | 0 | 4.0272 | 2.0262 | 2.0262 | 98.6011 | 1.0755 | 0.9592 | 0.98746 | 0
58-GVLCI2-36-2 | 44.7 | 4.4 | 0 | 4.1124 | 2.0262 | 2.0262 | 14.1422 | 0.10994 | 0.97932 | 0.99569 | 0.78728 | 1.9651e-05 | 2.1e-06 | 0 | 4.0272 | 2.0262 | 2.0262 | 100.69 | 1.0842 | 0.97932 | 0.99546 | 0
58-GVLCI2-37-1 | 29.3 | 2.2 | 0 | 4.1902 | 2.0516 | 2.0516 | 16.2186 | 0.12424 | 0.98752 | 0.99754 | 0.90667 | 2.5713e-05 | 2.7e-06 | 0 | 4.1025 | 2.0516 | 2.0516 | 115.4467 | 1.2258 | 0.98752 | 0.99741 | 0
58-GVLCI2-38-1 | 21 | 1.6 | 0 | 4.1755 | 2.0469 | 2.0469 | 16.0936 | 0.1239 | 0.98341 | 0.99674 | 0.35144 | 3.4547e-05 | 3.7e-06 | 0 | 4.0882 | 2.0469 | 2.0469 | 114.5619 | 1.2223 | 0.98341 | 0.99658 | 0
58-GVLCI2-36-1 | 73.7 ± 5.9 |  | ±
58-GVLCI2-36-2 | 44.7 ± 4.4 |  | ±
58-GVLCI2-37-1 | 29.3 ± 2.2 |  | ±
58-GVLCI2-38-1 | 21 ± 1.6 |  | ±

## Table
Table 1
10Be sample data and ages.
Sample | Sample type | Latitude (°N) | Longitude (°W) | Elevation (m asl) | Sample thickness (cm) | Topographic shielding factor | Quartz (g) | 9Be (μg) | 10Be/9Be ratio (x1013) | 10Be concentration (x105 atoms g-1) | 10Be age (ka)
58-GVLCI2-36-1 | crater bedrock | 38.3814 | 116.0722 | 1818 | 5 | 0.896 | 22.6698 | 0.24292 | 1.32 ± 0.32 | 9.43 ± 0.23 | 73.7 ± 5.9
58-GVLCI2-36-2 | crater bedrock | 38.3814 | 116.0722 | 1818 | 2.5 | 0.896 | 14.8357 | 0.24259 | 5.40 ± 0.12 | 5.91 ± 0.14 | 44.7 ± 4.4
58-GVLCI2-37-1 | ejecta boulder | 38.371 | 116.0639 | 1843 | 1.5 | 1 | 19.7901 | 0.24421 | 5.17 ± 0.13 | 4.26 ± 0.11 | 29.3 ± 2.2
58-GVLCI2-38-1 | ejecta boulder | 38.3888 | 116.0686 | 1838 | 2 | 1 | 8.7886 | 0.24369 | 1.58 ± 0.06 | 2.9 3± 0.11 | 21 ± 1.6
Notes: All samples with a rock density of 2.65 g/cm3; zero rock surface erosion. Ages calculated using global production rate of Borchers et al. (2015) with LSD scaling from Lifton et al. (2014);
Scaling choice is "SA" and ages caluclated on this website: http://web1.ittc.ku.edu:8888/2.0/ (Marrero et al., 2016).