## Table S3 WiscSIMS_datatable
Table S3. WiscSIMS datatable
File | Comment | d18O [VSMOW] | 2SD | Bias | d18O_meas | d18O-2SE | 16O(E9 cps) | IP(nA) | Yield(E9cps/nA) | date | time | Time series (min) | X | Y | DTFA-X | DTFA-Y | Mass | L2'-bkg | H1-bkg | Sample Name | 16O1H/16O | bckg sub
20140219@181.asc | WI-STD-74
20140219@182.asc | WI-STD-74 KIM-5 g4 |  |  |  | 5.284 | 0.216 | 2.7367 | 2.0568 | 1.3306 | 2014-02-19 | 8:23 | 1943 | 4898 | 287 | -2 | 2 | 898826 | 481394 | -48556 | KIM-5/ | 0.00018102
20140219@183.asc | WI-STD-74 KIM-5 g3 |  |  |  | 5.318 | 0.212 | 2.7333 | 2.0551 | 1.33 | 2014-02-19 | 8:26 | 1946 | 3898 | 287 | -2 | 3 | 898826 | 481394 | -48556 | KIM-5/ | 0.00027292
20140219@184.asc | WI-STD-74 KIM-5 g2 |  |  |  | 5.188 | 0.291 | 2.7262 | 2.0548 | 1.3268 | 2014-02-19 | 8:30 | 1950 | 3246 | -115 | -2 | 0 | 898826 | 481394 | -48556 | KIM-5/ | 0.00021595
20140219@185.asc | WI-STD-74 KIM-5 g1 |  |  |  | 5.257 | 0.201 | 2.73 | 2.0557 | 1.328 | 2014-02-19 | 8:33 | 1953 | 2216 | 67 | 1 | 2 | 898826 | 481394 | -48556 | KIM-5/ | 0.00018704
| average and 2SD |  |  |  | 5.2617 | 0.11028
ESG43
20140219@186.asc | ESG43 KIM-5 |  |  |  | 5.234 | 0.193 | 2.7193 | 2.0592 | 1.3205 | 2014-02-19 | 8:42 | 1962 | -450 | 264 | 9 | 12 | 898826 | 481394 | -48556 | KIM-5/ | 0.00049831
20140219@187.asc | ESG43 KIM-5 |  |  |  | 5.015 | 0.205 | 2.7245 | 2.0589 | 1.3233 | 2014-02-19 | 8:45 | 1965 | -450 | 244 | 9 | 12 | 898826 | 481394 | -48556 | KIM-5/ | 0.00050153
20140219@188.asc | ESG43 KIM-5 |  |  |  | 5.152 | 0.218 | 2.7245 | 2.0593 | 1.323 | 2014-02-19 | 8:49 | 1969 | -450 | 224 | 8 | 12 | 898826 | 481394 | -48556 | KIM-5/ | 0.00051125
20140219@189.asc | ESG43 KIM-5 |  |  |  | 5.084 | 0.283 | 2.7233 | 2.0603 | 1.3218 | 2014-02-19 | 8:52 | 1972 | -450 | 204 | 9 | 11 | 898826 | 481394 | -48556 | KIM-5/ | 0.00051708
| average and 2SD |  |  |  | 5.1212 | 0.18738 | [14 empty] | 0.00050704
20140219@190.asc | NS2A-1.1 | 7.0842 | 0.16108 |  | 7.108 | 0.276 | 2.7077 | 2.0559 | 1.3171 | 2014-02-19 | 8:57 | 1977 | -885 | -863 | 10 | 7 | 898826 | 481394 | -48556 | NS2A-1.1 | 0.00053414 | -2.9111e-05
20140219@191.asc | NS2A-1.2 | 7.9652 | 0.16108 |  | 7.989 | 0.241 | 2.6896 | 2.0555 | 1.3084 | 2014-02-19 | 9:01 | 1981 | -873 | -982 | 11 | 6 | 898826 | 481394 | -48556 | NS2A-1.2 | 0.00057517 | 1.1922e-05
20140219@192.asc | NS2A-2.1 | 6.6862 | 0.16108 |  | 6.71 | 0.178 | 2.7177 | 2.0561 | 1.3218 | 2014-02-19 | 9:05 | 1985 | 542 | -913 | 7 | 5 | 898826 | 481394 | -48556 | NS2A-2.1 | 0.00056118 | -2.0646e-06
20140219@193.asc | NS2A-2.2 | 7.8612 | 0.16108 |  | 7.885 | 0.21 | 2.7038 | 2.0596 | 1.3128 | 2014-02-19 | 9:09 | 1989 | 486 | -897 | 7 | 5 | 898826 | 481394 | -48556 | NS2A-2.2 | 0.00059223 | 2.898e-05
20140219@194.asc | NS2A-3.1 | 8.2082 | 0.16108 |  | 8.232 | 0.216 | 2.7267 | 2.0638 | 1.3212 | 2014-02-19 | 9:13 | 1993 | 1750 | -470 | 3 | 8 | 898826 | 481394 | -48556 | NS2A-3.1 | 0.00064127 | 7.8019e-05
20140219@195.asc | NS2A-3.2 | 7.9062 | 0.16108 |  | 7.93 | 0.25 | 2.7308 | 2.0651 | 1.3223 | 2014-02-19 | 9:16 | 1996 | 1709 | -487 | 4 | 8 | 898826 | 481394 | -48556 | NS2A-3.2 | 0.00071093 | 0.00014768
20140219@196.asc | NS2A-4.1 | 3.8553 | 0.16108 |  | 3.879 | 0.23 | 2.7202 | 2.0611 | 1.3198 | 2014-02-19 | 9:20 | 2000 | 112 | -829 | 10 | 5 | 898826 | 481394 | -48556 | NS2A-4.1 | 0.00074141 | 0.00017816
20140219@197.asc | NS2A-4.2 | 7.7112 | 0.16108 |  | 7.735 | 0.211 | 2.7265 | 2.0613 | 1.3227 | 2014-02-19 | 9:24 | 2004 | 125 | -767 | 9 | 6 | 898826 | 481394 | -48556 | NS2A-4.2 | 0.00057075 | 7.5002e-06
20140219@198.asc | NS2A-5.1 | 7.1622 | 0.16108 |  | 7.186 | 0.388 | 2.7085 | 2.0601 | 1.3147 | 2014-02-19 | 9:28 | 2008 | -1101 | -954 | 12 | 4 | 898826 | 481394 | -48556 | NS2A-5.1 | 0.00061499 | 5.1742e-05
20140219@199.asc | NS2A-5.2 | 7.8812 | 0.16108 |  | 7.905 | 0.26 | 2.7125 | 2.0549 | 1.32 | 2014-02-19 | 9:31 | 2011 | -1110 | -893 | 11 | 4 | 898826 | 481394 | -48556 | NS2A-5.2 | 0.00060717 | 4.3918e-05
20140219@200.asc | ESG43 KIM-5 |  |  |  | 5.176 | 0.246 | 2.7195 | 2.056 | 1.3227 | 2014-02-19 | 9:35 | 2015 | -475 | 263 | 7 | 9 | 898826 | 481394 | -48556 | KIM-5/ | 0.00059193
20140219@201.asc | ESG43 KIM-5 |  |  |  | 4.998 | 0.16 | 2.7259 | 2.0579 | 1.3246 | 2014-02-19 | 9:39 | 2019 | -475 | 243 | 7 | 9 | 898826 | 481394 | -48556 | KIM-5/ | 0.0006226
20140219@202.asc | ESG43 KIM-5 |  |  |  | 5.1 | 0.209 | 2.7126 | 2.055 | 1.32 | 2014-02-19 | 9:42 | 2022 | -475 | 223 | 7 | 9 | 898826 | 481394 | -48556 | KIM-5/ | 0.00063869
20140219@203.asc | ESG43 KIM-5 |  |  |  | 5.151 | 0.22 | 2.714 | 2.0554 | 1.3205 | 2014-02-19 | 9:45 | 2025 | -475 | 203 | 7 | 9 | 898826 | 481394 | -48556 | KIM-5/ | 0.0006246
| average and 2SD |  |  |  | 5.1062 | 0.15758 | [14 empty] | 0.00061946
| bracket average and 2SD | 5.09 |  | 0.02363 | 5.1137 | 0.16108 | [14 empty] | 0.00056325
20140219@204.asc | NS2A-6.1 | 5.2837 | 0.27474 |  | 5.3 | 0.261 | 2.7243 | 2.0608 | 1.322 | 2014-02-19 | 9:50 | 2030 | -210 | -898 | 6 | 5 | 898826 | 481394 | -48556 | NS2A-6.1 | 0.00065 | -3.1247e-05
20140219@205.asc | NS2A-6.2 | 8.1027 | 0.27474 |  | 8.119 | 0.232 | 2.7274 | 2.0665 | 1.3198 | 2014-02-19 | 9:53 | 2033 | -220 | -814 | 5 | 5 | 898826 | 481394 | -48556 | NS2A-6.2 | 0.00062282 | -5.8426e-05
20140219@206.asc | NS2A-7.1 | 7.3687 | 0.27474 |  | 7.385 | 0.234 | 2.7072 | 2.0632 | 1.3122 | 2014-02-19 | 9:57 | 2037 | -27 | -794 | 5 | 6 | 898826 | 481394 | -48556 | NS2A-7.1 | 0.00073538 | 5.4135e-05
20140219@207.asc | NS2A-7.2 | 8.1137 | 0.27474 |  | 8.13 | 0.248 | 2.7099 | 2.0667 | 1.3112 | 2014-02-19 | 10:00 | 2040 | -21 | -886 | 6 | 4 | 898826 | 481394 | -48556 | NS2A-7.2 | 0.0007208 | 3.9553e-05
20140219@208.asc | NS2A-8.1 | 4.9588 | 0.27474 |  | 4.975 | 0.205 | 2.7515 | 2.0746 | 1.3263 | 2014-02-19 | 10:04 | 2044 | 1221 | -759 | 0 | 5 | 898826 | 481394 | -48556 | NS2A-8.1 | 0.000654 | -2.7249e-05
20140219@209.asc | NS2A-8.2 | 7.7527 | 0.27474 |  | 7.769 | 0.239 | 2.7428 | 2.0774 | 1.3203 | 2014-02-19 | 10:08 | 2048 | 1270 | -838 | 0 | 4 | 898826 | 481394 | -48556 | NS2A-8.2 | 0.00066147 | -1.9778e-05
20140219@210.asc | NS2A-9.1 | 5.2397 | 0.27474 |  | 5.256 | 0.292 | 2.7429 | 2.0777 | 1.3202 | 2014-02-19 | 10:12 | 2052 | 1758 | -745 | -2 | 6 | 898826 | 481394 | -48556 | NS2A-9.1 | 0.00063687 | -4.4379e-05
20140219@211.asc | NS2A-9.2 | 7.8327 | 0.27474 |  | 7.849 | 0.198 | 2.7533 | 2.0803 | 1.3235 | 2014-02-19 | 10:16 | 2056 | 1799 | -679 | -2 | 6 | 898826 | 481394 | -48556 | NS2A-9.2 | 0.00065041 | -3.0841e-05
20140219@212.asc | NS2A-10.1 | 5.4607 | 0.27474 |  | 5.477 | 0.213 | 2.7627 | 2.0878 | 1.3233 | 2014-02-19 | 10:19 | 2059 | 2047 | -805 | -3 | 5 | 898826 | 481394 | -48556 | NS2A-10.1 | 0.00067476 | -6.4926e-06
20140219@213.asc | NS2A-10.2 | 7.7697 | 0.27474 |  | 7.786 | 0.222 | 2.7699 | 2.0895 | 1.3256 | 2014-02-19 | 10:23 | 2063 | 2042 | -709 | -4 | 5 | 898826 | 481394 | -48556 | NS2A-10.2 | 0.00075454 | 7.3292e-05
20140219@214.asc | NS2A-11.1 | 8.7507 | 0.27474 |  | 8.767 | 0.161 | 2.754 | 2.0888 | 1.3185 | 2014-02-19 | 10:27 | 2067 | 2179 | -494 | -3 | 7 | 898826 | 481394 | -48556 | NS2A-11.1 | 0.00067196 | -9.2917e-06
20140219@215.asc | NS2A-12.1 | 5.6537 | 0.27474 |  | 5.67 | 0.208 | 2.7319 | 2.0886 | 1.308 | 2014-02-19 | 10:30 | 2070 | 1627 | -648 | -2 | 6 | 898826 | 481394 | -48556 | NS2A-12.1 | 0.00064863 | -3.2619e-05
20140219@216.asc | NS2A-13.1 | 9.3787 | 0.27474 |  | 9.395 | 0.267 | 2.7462 | 2.0891 | 1.3145 | 2014-02-19 | 10:34 | 2074 | 1421 | -613 | -1 | 6 | 898826 | 481394 | -48556 | NS2A-13.1 | 0.00063967 | -4.1574e-05
20140219@217.asc | NS2A-14.1 | 8.4237 | 0.27474 |  | 8.44 | 0.25 | 2.7396 | 2.0889 | 1.3115 | 2014-02-19 | 10:38 | 2078 | 1456 | -772 | -1 | 5 | 898826 | 481394 | -48556 | NS2A-14.1 | 0.00067716 | -4.0893e-06
20140219@218.asc | 91500 | 9.9927 | 0.27474 |  | 10.009 | 0.167 | 2.7806 | 2.0814 | 1.3359 | 2014-02-19 | 10:42 | 2082 | -3156 | 466 | 2 | 13 | 898826 | 481394 | -48556 | 91500 | 0.00063227 | -4.8977e-05
20140219@219.asc | ESG43 KIM-5 |  |  |  | 5.122 | 0.264 | 2.7853 | 2.0811 | 1.3384 | 2014-02-19 | 10:47 | 2087 | -430 | 265 | -10 | 11 | 898826 | 481394 | -48556 | KIM-5/ | 0.00068817
20140219@220.asc | ESG43 KIM-5 |  |  |  | 5.164 | 0.218 | 2.7764 | 2.0782 | 1.336 | 2014-02-19 | 10:51 | 2091 | -430 | 245 | -10 | 10 | 898826 | 481394 | -48556 | KIM-5/ | 0.00076255
20140219@221.asc | ESG43 KIM-5 |  |  |  | 5.301 | 0.189 | 2.7816 | 2.0778 | 1.3387 | 2014-02-19 | 10:54 | 2094 | -430 | 225 | -10 | 9 | 898826 | 481394 | -48556 | KIM-5/ | 0.00075183
20140219@222.asc | ESG43 KIM-5 |  |  |  | 4.838 | 0.251 | 2.7769 | 2.0784 | 1.3361 | 2014-02-19 | 10:58 | 2098 | -430 | 205 | -10 | 9 | 898826 | 481394 | -48556 | KIM-5/ | 0.00076962
| average and 2SD |  |  |  | 5.1063 | 0.38896 | [14 empty] | 0.00074304
| bracket average and 2SD | 5.09 |  | 0.016168 | 5.1062 | 0.27474 | [14 empty] | 0.00068125
20140219@223.asc | SCKG-1.1 | 8.4486 | 0.34952 |  | 8.444 | 0.23 | 2.7171 | 2.0766 | 1.3084 | 2014-02-19 | 11:03 | 2103 | -2355 | -2192 | 0 | 1 | 898826 | 481394 | -48556 | SCKG-1.1 | 0.00070777 | -3.7992e-05
20140219@224.asc | SCKG-1.2 | 8.1776 | 0.34952 |  | 8.173 | 0.211 | 2.7245 | 2.0747 | 1.3132 | 2014-02-19 | 11:07 | 2107 | -2333 | -2229 | -1 | 0 | 898826 | 481394 | -48556 | SCKG-1.2 | 0.00078069 | 3.4919e-05
20140219@225.asc | SCKG-2.1 | 6.1296 | 0.34952 |  | 6.125 | 0.271 | 2.7263 | 2.0735 | 1.3148 | 2014-02-19 | 11:10 | 2110 | -2071 | -2404 | -3 | -3 | 898826 | 481394 | -48556 | SCKG-2.1 | 0.00072754 | -1.8224e-05
20140219@226.asc | SCKG-2.2 | 8.0756 | 0.34952 |  | 8.071 | 0.236 | 2.7038 | 2.0699 | 1.3062 | 2014-02-19 | 11:14 | 2114 | -2125 | -2391 | -3 | -2 | 898826 | 481394 | -48556 | SCKG-2.2 | 0.00072144 | -2.4331e-05
20140219@227.asc | SCKG-3.1 | 8.4206 | 0.34952 |  | 8.416 | 0.234 | 2.7172 | 2.0576 | 1.3205 | 2014-02-19 | 11:18 | 2118 | -1463 | -2319 | -7 | -2 | 898826 | 481394 | -48556 | SCKG-3.1 | 0.00070337 | -4.2395e-05
20140219@228.asc | SCKG-4.1 | 6.3786 | 0.34952 |  | 6.374 | 0.209 | 2.6985 | 2.0538 | 1.3139 | 2014-02-19 | 11:22 | 2122 | -1766 | -2053 | -5 | 1 | 898826 | 481394 | -48556 | SCKG-4.1 | 0.00071294 | -3.2825e-05
20140219@229.asc | SCKG-5.1 | 7.7906 | 0.34952 |  | 7.786 | 0.185 | 2.7131 | 2.0507 | 1.323 | 2014-02-19 | 11:26 | 2126 | -473 | -1925 | -10 | 2 | 898826 | 481394 | -48556 | SCKG-5.1 | 0.00070118 | -4.4583e-05
20140219@230.asc | SCKG-6.1 | 8.0726 | 0.34952 |  | 8.068 | 0.23 | 2.6663 | 2.0407 | 1.3066 | 2014-02-19 | 11:31 | 2131 | 117 | -2249 | 0 | -3 | 898826 | 481394 | -48556 | SCKG-6.1 | 0.000717 | -2.8767e-05
20140219@231.asc | SCKG-7.1 | 7.5526 | 0.34952 |  | 7.548 | 0.187 | 2.651 | 2.033 | 1.304 | 2014-02-19 | 11:35 | 2135 | 757 | -2217 | -4 | -2 | 898826 | 481394 | -48556 | SCKG-7.1 | 0.00072362 | -2.2145e-05
20140219@232.asc | SCKG-7.2 | 8.0876 | 0.34952 |  | 8.083 | 0.229 | 2.6259 | 2.0257 | 1.2963 | 2014-02-19 | 11:38 | 2138 | 730 | -2273 | -3 | -3 | 898826 | 481394 | -48556 | SCKG-7.2 | 0.00074563 | -1.3486e-07
20140219@233.asc | SCKG-8.1 | 6.0496 | 0.34952 |  | 6.045 | 0.204 | 2.6237 | 2.0159 | 1.3015 | 2014-02-19 | 11:43 | 2143 | 1144 | -2157 | -5 | -2 | 898826 | 481394 | -48556 | SCKG-8.1 | 0.00067602 | -6.9751e-05
20140219@234.asc | SCKG-9.1 | 8.1946 | 0.34952 |  | 8.19 | 0.182 | 2.6133 | 2.0059 | 1.3028 | 2014-02-19 | 11:47 | 2147 | 2226 | -1995 | -7 | 0 | 898826 | 481394 | -48556 | SCKG-9.1 | 0.00072156 | -2.4206e-05
20140219@235.asc | SCKG-10.1 | 6.0996 | 0.34952 |  | 6.095 | 0.238 | 2.6109 | 2.0018 | 1.3043 | 2014-02-19 | 11:51 | 2151 | 2614 | -1943 | -9 | 1 | 898826 | 481394 | -48556 | SCKG-10.1 | 0.00069632 | -4.9445e-05
20140219@236.asc | SCKG-11.1 | 5.0646 | 0.34952 |  | 5.06 | 0.242 | 2.596 | 1.9998 | 1.2982 | 2014-02-19 | 11:54 | 2154 | 3714 | -1990 | -12 | 2 | 898826 | 481394 | -48556 | SCKG-11.1 | 0.00082592 | 8.0149e-05
20140219@237.asc | 91500 | 9.8996 | 0.34952 |  | 9.895 | 0.194 | 2.5941 | 1.99 | 1.3036 | 2014-02-19 | 11:59 | 2159 | -3178 | 465 | 10 | 13 | 898826 | 481394 | -48556 | 91500 | 0.0006788 | -6.6962e-05
20140219@238.asc | ESG43 KIM-5 |  |  |  | 5.002 | 0.271 | 2.6024 | 1.9836 | 1.312 | 2014-02-19 | 12:03 | 2163 | -410 | 271 | -3 | 10 | 898826 | 481394 | -48556 | KIM-5/ | 0.00074849
| average and 2SD |  |  |  | 5.002 | 0.271 | [14 empty] | 0.00074849
| bracket average and 2SD | 5.09 |  | -0.0045767 | 5.0854 | 0.34952 | [14 empty] | 0.00074577
Shutdown (power shortage)
retuned
WI-STD-74
20140219@239.asc | WI-STD-74 KIM-5 g1 |  |  |  | 5.089 | 0.215 | 2.7211 | 2.1624 | 1.2584 | 2014-02-19 | 15:35 | 2375 | 1918 | -125 | 5 | -5 | 898729 | 484562 | -50677 | KIM-5/ | 0.00018595
20140219@240.asc | WI-STD-74 KIM-5 g1, L2=1786 |  |  |  | 4.896 | 0.248 | 2.6304 | 2.0502 | 1.283 | 2014-02-19 | 15:39 | 2379 | 1894 | -98 | 4 | -5 | 898729 | 484562 | -50677 | KIM-5/ | 0.00018183
20140219@241.asc | WI-STD-74 KIM-5 g2 |  |  |  | 5.143 | 0.184 | 2.6358 | 2.0503 | 1.2855 | 2014-02-19 | 15:42 | 2382 | 2965 | -206 | 3 | -5 | 898729 | 484562 | -50677 | KIM-5/ | 0.00021124
20140219@242.asc | WI-STD-74 KIM-5 g3 |  |  |  | 5.001 | 0.204 | 2.6348 | 2.0493 | 1.2857 | 2014-02-19 | 15:46 | 2386 | 3967 | 246 | 2 | -3 | 898729 | 484562 | -50677 | KIM-5/ | 0.00017772
| average and 2SD |  |  |  | 5.0323 | 0.21611
20140219@243.asc | ESG43 KIM-5 |  |  |  | 5.05 | 0.163 | 2.6653 | 2.0461 | 1.3026 | 2014-02-19 | 15:52 | 2392 | -408 | 217 | 4 | 9 | 898729 | 484562 | -50677 | KIM-5/ | 0.00044327
20140219@244.asc | ESG43 KIM-5 |  |  |  | 4.755 | 0.192 | 2.6342 | 2.0471 | 1.2868 | 2014-02-19 | 15:57 | 2397 | -408 | 197 | 14 | 7 | 898729 | 484562 | -50677 | KIM-5/ | 0.00046766
20140219@245.asc | ESG43 KIM-5 |  |  |  | 4.902 | 0.238 | 2.6243 | 2.048 | 1.2814 | 2014-02-19 | 16:00 | 2400 | -408 | 177 | 15 | 8 | 898729 | 484562 | -50677 | KIM-5/ | 0.00047448
20140219@246.asc | ESG43 KIM-5 |  |  |  | 4.958 | 0.175 | 2.6249 | 2.0503 | 1.2803 | 2014-02-19 | 16:03 | 2403 | -408 | 157 | 16 | 7 | 898729 | 484562 | -50677 | KIM-5/ | 0.00049398
| average and 2SD |  |  |  | 4.9162 | 0.24722 | [14 empty] | 0.00046985
20140219@247.asc | 20-210-1.1 | 7.3283 | 0.21365 |  | 7.19 | 0.254 | 2.6098 | 2.0566 | 1.269 | 2014-02-19 | 16:08 | 2408 | 197 | 2476 | 15 | 18 | 898729 | 484562 | -50677 | 20-210-1.1 | 0.00050665 | -4.6666e-06
20140219@248.asc | 20-210-1.2 | 7.6814 | 0.21365 |  | 7.543 | 0.206 | 2.6157 | 2.0576 | 1.2712 | 2014-02-19 | 16:11 | 2411 | 211 | 2557 | 14 | 19 | 898729 | 484562 | -50677 | 20-210-1.2 | 0.00052748 | 1.6161e-05
20140219@249.asc | 20-210-2.1 | 8.1024 | 0.21365 |  | 7.964 | 0.228 | 2.629 | 2.0569 | 1.2781 | 2014-02-19 | 16:15 | 2415 | 109 | 2285 | 12 | 15 | 898729 | 484562 | -50677 | 20-210-2.1 | 0.00053915 | 2.7827e-05
20140219@250.asc | 20-210-2.2 | 7.5233 | 0.21365 |  | 7.385 | 0.276 | 2.618 | 2.0595 | 1.2712 | 2014-02-19 | 16:18 | 2418 | 118 | 2207 | 12 | 15 | 898729 | 484562 | -50677 | 20-210-2.2 | 0.00059047 | 7.9154e-05
20140219@251.asc | 20-210-3.1 | 4.871 | 0.21365 |  | 4.733 | 0.195 | 2.6405 | 2.0621 | 1.2805 | 2014-02-19 | 16:22 | 2422 | 978 | 2558 | 9 | 18 | 898729 | 484562 | -50677 | 20-210-3.1 | 0.00054107 | 2.9755e-05
20140219@252.asc | 20-210-3.2 | 7.4073 | 0.21365 |  | 7.269 | 0.213 | 2.6348 | 2.0659 | 1.2754 | 2014-02-19 | 16:26 | 2426 | 1024 | 2512 | 9 | 18 | 898729 | 484562 | -50677 | 20-210-3.2 | 0.00054964 | 3.832e-05
20140219@253.asc | 20-210-4.1 | 8.6145 | 0.21365 |  | 8.476 | 0.235 | 2.6467 | 2.0658 | 1.2812 | 2014-02-19 | 16:29 | 2429 | 1521 | 2346 | 6 | 16 | 898729 | 484562 | -50677 | 20-210-4.1 | 0.00052439 | 1.3067e-05
20140219@254.asc | 20-210-4.2 | 7.6834 | 0.21365 |  | 7.545 | 0.24 | 2.6313 | 2.0706 | 1.2708 | 2014-02-19 | 16:32 | 2432 | 1482 | 2275 | 7 | 15 | 898729 | 484562 | -50677 | 20-210-4.2 | 0.00054823 | 3.6915e-05
20140219@255.asc | 20-210-5.1 | 8.7265 | 0.21365 |  | 8.588 | 0.179 | 2.6442 | 2.0683 | 1.2785 | 2014-02-19 | 16:36 | 2436 | 1973 | 2461 | 5 | 17 | 898729 | 484562 | -50677 | 20-210-5.1 | 0.00054556 | 3.4245e-05
20140219@256.asc | 20-210-5.2 | 7.9204 | 0.21365 |  | 7.782 | 0.238 | 2.6272 | 2.0702 | 1.2691 | 2014-02-19 | 16:40 | 2440 | 1949 | 2512 | 5 | 17 | 898729 | 484562 | -50677 | 20-210-5.2 | 0.00057996 | 6.8644e-05
20140219@257.asc | ESG43 KIM-5 |  |  |  | 5.115 | 0.262 | 2.6698 | 2.0741 | 1.2872 | 2014-02-19 | 16:44 | 2444 | -507 | 215 | 10 | 7 | 898729 | 484562 | -50677 | KIM-5/ | 0.00054014
20140219@258.asc | ESG43 KIM-5 |  |  |  | 4.961 | 0.203 | 2.6699 | 2.0787 | 1.2844 | 2014-02-19 | 16:47 | 2447 | -507 | 195 | 10 | 6 | 898729 | 484562 | -50677 | KIM-5/ | 0.00054982
20140219@259.asc | ESG43 KIM-5 |  |  |  | 4.968 | 0.253 | 2.6648 | 2.0792 | 1.2816 | 2014-02-19 | 16:50 | 2450 | -507 | 175 | 10 | 6 | 898729 | 484562 | -50677 | KIM-5/ | 0.00055555
20140219@260.asc | ESG43 KIM-5 |  |  |  | 4.907 | 0.236 | 2.6772 | 2.0815 | 1.2862 | 2014-02-19 | 16:53 | 2453 | -507 | 155 | 10 | 6 | 898729 | 484562 | -50677 | KIM-5/ | 0.00056564
| average and 2SD |  |  |  | 4.9878 | 0.17821 | [14 empty] | 0.00055279
| bracket average and 2SD | 5.09 |  | -0.1373 | 4.952 | 0.21365 | [14 empty] | 0.00051132
20140219@261.asc | 20-210-6.1 | 8.1316 | 0.15201 |  | 8.053 | 0.173 | 2.6587 | 2.0812 | 1.2775 | 2014-02-19 | 16:59 | 2459 | 2350 | 2257 | 4 | 14 | 898729 | 484562 | -50677 | 20-210-6.1 | 0.0005685 | -6.1495e-06
20140219@262.asc | 20-210-6.2 | 7.7176 | 0.15201 |  | 7.639 | 0.21 | 2.6432 | 2.0873 | 1.2663 | 2014-02-19 | 17:02 | 2462 | 2300 | 2209 | 4 | 13 | 898729 | 484562 | -50677 | 20-210-6.2 | 0.00061218 | 3.753e-05
20140219@263.asc | 20-210-7.1 | 9.1357 | 0.15201 |  | 9.057 | 0.263 | 2.671 | 2.0866 | 1.28 | 2014-02-19 | 17:06 | 2466 | 2899 | 2529 | 2 | 16 | 898729 | 484562 | -50677 | 20-210-7.1 | 0.00056873 | -5.9177e-06
20140219@264.asc | 20-210-7.2 | 7.4576 | 0.15201 |  | 7.379 | 0.213 | 2.651 | 2.0889 | 1.2691 | 2014-02-19 | 17:09 | 2469 | 2889 | 2616 | 2 | 16 | 898729 | 484562 | -50677 | 20-210-7.2 | 0.00059249 | 1.784e-05
20140219@265.asc | 20-210-8.1 | 7.3466 | 0.15201 |  | 7.268 | 0.174 | 2.6601 | 2.0892 | 1.2732 | 2014-02-19 | 17:13 | 2473 | 3152 | 2390 | 1 | 14 | 898729 | 484562 | -50677 | 20-210-8.1 | 0.00077269 | 0.00019805
20140219@266.asc | 91500 | 9.8857 | 0.15201 |  | 9.807 | 0.163 | 2.6672 | 2.0875 | 1.2777 | 2014-02-19 | 17:17 | 2477 | -3209 | 458 | 16 | 9 | 898729 | 484562 | -50677 | 91500 | 0.00053559 | -3.9055e-05
[SAMPLE FROM ANOTHER PROJECT]
[SAMPLE FROM ANOTHER PROJECT]
[SAMPLE FROM ANOTHER PROJECT]
[SAMPLE FROM ANOTHER PROJECT]
[SAMPLE FROM ANOTHER PROJECT]
[SAMPLE FROM ANOTHER PROJECT]
[SAMPLE FROM ANOTHER PROJECT]
[SAMPLE FROM ANOTHER PROJECT]
[SAMPLE FROM ANOTHER PROJECT]
20140219@276.asc | ESG43 KIM-5 |  |  |  | 5.096 | 0.257 | 2.6969 | 2.0983 | 1.2853 | 2014-02-19 | 17:53 | 2513 | -539 | 191 | 3 | 6 | 898729 | 484562 | -50677 | KIM-5/ | 0.00058928
20140219@277.asc | ESG43 KIM-5 |  |  |  | 5.083 | 0.168 | 2.6872 | 2.097 | 1.2814 | 2014-02-19 | 17:56 | 2516 | -539 | 171 | 3 | 6 | 898729 | 484562 | -50677 | KIM-5/ | 0.00059801
20140219@278.asc | ESG43 KIM-5 |  |  |  | 4.994 | 0.255 | 2.6838 | 2.0954 | 1.2808 | 2014-02-19 | 17:59 | 2519 | -539 | 151 | 2 | 6 | 898729 | 484562 | -50677 | KIM-5/ | 0.00059991
20140219@279.asc | ESG43 KIM-5 |  |  |  | 4.969 | 0.191 | 2.6858 | 2.0963 | 1.2812 | 2014-02-19 | 18:02 | 2522 | -539 | 131 | 2 | 6 | 898729 | 484562 | -50677 | KIM-5/ | 0.00059882
| average and 2SD |  |  |  | 5.0355 | 0.12681 | [14 empty] | 0.00059651
| bracket average and 2SD | 5.09 |  | -0.077978 | 5.0116 | 0.15201 | [14 empty] | 0.00057465
[SAMPLE FROM ANOTHER PROJECT]
[SAMPLE FROM ANOTHER PROJECT]
[SAMPLE FROM ANOTHER PROJECT]
[SAMPLE FROM ANOTHER PROJECT]
[SAMPLE FROM ANOTHER PROJECT]
[SAMPLE FROM ANOTHER PROJECT]
[SAMPLE FROM ANOTHER PROJECT]
[SAMPLE FROM ANOTHER PROJECT]
[SAMPLE FROM ANOTHER PROJECT]
[SAMPLE FROM ANOTHER PROJECT]
[SAMPLE FROM ANOTHER PROJECT]
[SAMPLE FROM ANOTHER PROJECT]
[SAMPLE FROM ANOTHER PROJECT]
[SAMPLE FROM ANOTHER PROJECT]
[SAMPLE FROM ANOTHER PROJECT]
20140219@295.asc | ESG43 KIM-5 |  |  |  | 4.932 | 0.203 | 2.6085 | 2.0494 | 1.2728 | 2014-02-19 | 18:57 | 2577 | -387 | 248 | 12 | 8 | 898729 | 484562 | -50677 | KIM-5/ | 0.00059401
20140219@296.asc | ESG43 KIM-5 |  |  |  | 4.85 | 0.222 | 2.6085 | 2.0503 | 1.2722 | 2014-02-19 | 19:00 | 2580 | -387 | 228 | 12 | 8 | 898729 | 484562 | -50677 | KIM-5/ | 0.00060894
20140219@297.asc | ESG43 KIM-5 |  |  |  | 4.855 | 0.22 | 2.6165 | 2.0528 | 1.2746 | 2014-02-19 | 19:03 | 2583 | -387 | 208 | 12 | 7 | 898729 | 484562 | -50677 | KIM-5/ | 0.00063757
20140219@298.asc | ESG43 KIM-5 |  |  |  | 4.917 | 0.2 | 2.6124 | 2.0522 | 1.273 | 2014-02-19 | 19:07 | 2587 | -387 | 188 | 12 | 6 | 898729 | 484562 | -50677 | KIM-5/ | 0.00064111
| average and 2SD |  |  |  | 4.8885 | 0.084135 | [14 empty] | 0.00062041
| bracket average and 2SD | 5.09 |  | -0.12735 | 4.962 | 0.18607
20140219@299.asc | 89DM-1.1 | 6.0454 | 0.15673 |  | 5.873 | 0.194 | 2.5652 | 2.0367 | 1.2595 | 2014-02-19 | 19:11 | 2591 | 993 | 1663 | 6 | 12 | 898729 | 484562 | -50677 | 89DM-1.1 | 0.00065288 | 4.8019e-05
20140219@300.asc | 89DM-2.1 | 6.1504 | 0.15673 |  | 5.978 | 0.234 | 2.5432 | 2.0299 | 1.2529 | 2014-02-19 | 19:14 | 2594 | 1166 | 1591 | 6 | 13 | 898729 | 484562 | -50677 | 89DM-2.1 | 0.00062626 | 2.1393e-05
20140219@301.asc | 89DM-3.1 | 8.7199 | 0.15673 |  | 8.547 | 0.248 | 2.5557 | 2.0362 | 1.2551 | 2014-02-19 | 19:18 | 2598 | 1301 | 1683 | 6 | 13 | 898729 | 484562 | -50677 | 89DM-3.1 | 0.00070024 | 9.5382e-05
20140219@302.asc | 89DM-4.1 | 6.3215 | 0.15673 |  | 6.149 | 0.21 | 2.5504 | 2.0371 | 1.252 | 2014-02-19 | 19:21 | 2601 | 1669 | 1803 | 4 | 12 | 898729 | 484562 | -50677 | 89DM-4.1 | 0.00065154 | 4.6681e-05
20140219@303.asc | 91500 | 9.8901 | 0.15673 |  | 9.717 | 0.201 | 2.5731 | 2.0372 | 1.263 | 2014-02-19 | 19:25 | 2605 | -3134 | 461 | 15 | 9 | 898729 | 484562 | -50677 | 91500 | 0.00057484 | -3.0022e-05
[SAMPLE FROM ANOTHER PROJECT]
[SAMPLE FROM ANOTHER PROJECT]
[SAMPLE FROM ANOTHER PROJECT]
[SAMPLE FROM ANOTHER PROJECT]
[SAMPLE FROM ANOTHER PROJECT]
20140219@309.asc | ESG43 KIM-5 |  |  |  | 4.981 | 0.175 | 2.5936 | 2.0444 | 1.2686 | 2014-02-19 | 19:48 | 2628 | -443 | 182 | 12 | 6 | 898729 | 484562 | -50677 | KIM-5/ | 0.00057413
20140219@310.asc | ESG43 KIM-5 |  |  |  | 4.933 | 0.243 | 2.602 | 2.0505 | 1.269 | 2014-02-19 | 19:51 | 2631 | -443 | 162 | 12 | 6 | 898729 | 484562 | -50677 | KIM-5/ | 0.0005811
20140219@311.asc | ESG43 KIM-5 |  |  |  | 4.816 | 0.197 | 2.59 | 2.0501 | 1.2633 | 2014-02-19 | 19:54 | 2634 | -483 | 162 | 12 | 6 | 898729 | 484562 | -50677 | KIM-5/ | 0.00060452
20140219@312.asc | ESG43 KIM-5 |  |  |  | 5.058 | 0.249 | 2.5695 | 2.0441 | 1.257 | 2014-02-19 | 19:57 | 2637 | -483 | 142 | 12 | 6 | 898729 | 484562 | -50677 | KIM-5/ | 0.00059752
| average and 2SD |  |  |  | 4.947 | 0.20276 | [14 empty] | 0.00058932
| bracket average and 2SD | 5.09 |  | -0.17138 | 4.9177 | 0.15673 | [14 empty] | 0.00060486
20140220@312.asc | WI-STD-74
20140220@313.asc | WI-STD-74 KIM-5 g4 |  |  |  | 4.782 | 0.166 | 2.5633 | 2.0708 | 1.2378 | 2014-02-20 | 8:21 | 3381 | 4916 | 235 | -1 | 1 | 898729 | 482274 | -50985 | KIM-5/ | 0.00018791
20140220@314.asc | WI-STD-74 KIM-5 g3 |  |  |  | 5.013 | 0.253 | 2.565 | 2.0754 | 1.2359 | 2014-02-20 | 8:24 | 3384 | 3960 | 295 | -1 | 1 | 898729 | 482274 | -50985 | KIM-5/ | 0.00017336
20140220@315.asc | WI-STD-74 KIM-5 g2 |  |  |  | 4.807 | 0.174 | 2.6021 | 2.079 | 1.2516 | 2014-02-20 | 8:28 | 3388 | 3043 | -251 | -6 | -1 | 898729 | 482274 | -50985 | KIM-5/ | 0.00018554
20140220@316.asc | WI-STD-74 KIM-5 g1 |  |  |  | 4.946 | 0.189 | 2.6049 | 2.0809 | 1.2518 | 2014-02-20 | 8:31 | 3391 | 1949 | -121 | -5 | 0 | 898729 | 482274 | -50985 | KIM-5/ | 0.00018636
| average and 2SD |  |  |  | 4.887 | 0.22146
ESG32
20140220@317.asc | ESG32 KIM-5 |  |  |  | 4.923 | 0.207 | 2.6108 | 2.0766 | 1.2572 | 2014-02-20 | 8:40 | 3400 | 397 | 281 | 0 | -19 | 898729 | 482274 | -50985 | KIM-5/ | 0.0005545
20140220@318.asc | ESG32 KIM-5 |  |  |  | 4.874 | 0.169 | 2.6121 | 2.0784 | 1.2568 | 2014-02-20 | 8:43 | 3403 | 397 | 261 | 1 | -19 | 898729 | 482274 | -50985 | KIM-5/ | 0.00056733
20140220@319.asc | ESG32 KIM-5 |  |  |  | 4.866 | 0.188 | 2.6178 | 2.0794 | 1.2589 | 2014-02-20 | 8:46 | 3406 | 397 | 241 | 0 | -20 | 898729 | 482274 | -50985 | KIM-5/ | 0.00058433
20140220@320.asc | ESG32 KIM-5 |  |  |  | 4.937 | 0.268 | 2.6126 | 2.078 | 1.2573 | 2014-02-20 | 8:50 | 3410 | 397 | 221 | 0 | -22 | 898729 | 482274 | -50985 | KIM-5/ | 0.0005921
| average and 2SD |  |  |  | 4.9 | 0.070522 | [14 empty] | 0.00057457
20140220@321.asc | NS3A-22.1 | 11.1077 | 0.15604 | 11.1077 | 10.929 | 0.17 | 2.5542 | 2.0717 | 1.2329 | 2014-02-20 | 8:56 | 3416 | -396 | 3533 | 1 | -16 | 898729 | 482274 | -50985 | NS3A-22.1 | 0.00058168 | -4.7136e-05
20140220@322.asc | NS3A-22.2 | 9.7264 | 0.15604 |  | 9.548 | 0.249 | 2.5788 | 2.0698 | 1.2459 | 2014-02-20 | 8:59 | 3419 | -329 | 3454 | 2 | -16 | 898729 | 482274 | -50985 | NS3A-22.2 | 0.00083075 | 0.00020194
20140220@323.asc | NS3A-110.1 | 7.203 | 0.15604 | 7.203 | 7.025 | 0.298 | 2.5246 | 2.0552 | 1.2284 | 2014-02-20 | 9:05 | 3425 | -1462 | 3278 | 3 | -16 | 898729 | 482274 | -50985 | NS3A-110.1 | 0.00058298 | -4.5833e-05
20140220@324.asc | NS3A-110.2 | 5.6817 | 0.15604 |  | 5.504 | 0.19 | 2.5376 | 2.0634 | 1.2298 | 2014-02-20 | 9:08 | 3428 | -1479 | 3345 | 3 | -16 | 898729 | 482274 | -50985 | NS3A-110.2 | 0.00062031 | -8.5066e-06
20140220@325.asc | NS3A-115.1 | 9.1833 | 0.15604 | 9.1833 | 9.005 | 0.223 | 2.5598 | 2.0713 | 1.2358 | 2014-02-20 | 9:12 | 3432 | -2364 | 3373 | 3 | -16 | 898729 | 482274 | -50985 | NS3A-115.1 | 0.00061731 | -1.1511e-05
20140220@326.asc | NS3A-115.2 | 4.6325 | 0.15604 |  | 4.455 | 0.205 | 2.5638 | 2.0778 | 1.2339 | 2014-02-20 | 9:16 | 3436 | -2320 | 3283 | 3 | -17 | 898729 | 482274 | -50985 | NS3A-115.2 | 0.00067031 | 4.149e-05
20140220@327.asc | NS3A-115.3 | 7.9231 | 0.15604 | 7.9231 | 7.745 | 0.222 | 2.561 | 2.08 | 1.2313 | 2014-02-20 | 9:19 | 3439 | -2260 | 3178 | 4 | -18 | 898729 | 482274 | -50985 | NS3A-115.3 | 0.00061292 | -1.5898e-05
20140220@328.asc | NS3A-115.4 | 5.9458 | 0.15604 |  | 5.768 | 0.165 | 2.5675 | 2.0801 | 1.2343 | 2014-02-20 | 9:23 | 3443 | -2292 | 3226 | 5 | -17 | 898729 | 482274 | -50985 | NS3A-115.4 | 0.00064249 | 1.3674e-05
20140220@329.asc | NS3A-114.1 | 6.979 | 0.15604 | 6.979 | 6.801 | 0.203 | 2.564 | 2.0778 | 1.234 | 2014-02-20 | 9:26 | 3446 | -1983 | 3385 | 3 | -16 | 898729 | 482274 | -50985 | NS3A-114.1 | 0.00065557 | 2.6757e-05
20140220@330.asc | NS3A-114.2 | 10.1665 | 0.15604 |  | 9.988 | 0.194 | 2.5795 | 2.0824 | 1.2387 | 2014-02-20 | 9:30 | 3450 | -2053 | 3356 | 3 | -17 | 898729 | 482274 | -50985 | NS3A-114.2 | 0.00068729 | 5.8472e-05
20140220@331.asc | ESG32 KIM-5 |  |  |  | 4.87 | 0.18 | 2.611 | 2.0819 | 1.2541 | 2014-02-20 | 9:34 | 3454 | 451 | 305 | 0 | -19 | 898729 | 482274 | -50985 | KIM-5/ | 0.00067364
20140220@332.asc | ESG32 KIM-5 |  |  |  | 4.849 | 0.198 | 2.6047 | 2.0794 | 1.2526 | 2014-02-20 | 9:37 | 3457 | 451 | 285 | 0 | -20 | 898729 | 482274 | -50985 | KIM-5/ | 0.00067409
20140220@333.asc | ESG32 KIM-5 |  |  |  | 4.889 | 0.159 | 2.6084 | 2.0776 | 1.2555 | 2014-02-20 | 9:40 | 3460 | 451 | 265 | 0 | -21 | 898729 | 482274 | -50985 | KIM-5/ | 0.00068992
20140220@334.asc | ESG32 KIM-5 |  |  |  | 5.091 | 0.228 | 2.5955 | 2.077 | 1.2496 | 2014-02-20 | 9:43 | 3463 | 451 | 245 | 0 | -21 | 898729 | 482274 | -50985 | KIM-5/ | 0.00069461
| average and 2SD |  |  |  | 4.9248 | 0.22406 | [14 empty] | 0.00068306
| bracket average and 2SD | 5.09 |  | -0.17673 | 4.9124 | 0.15604 | [14 empty] | 0.00062882
20140220@335.asc | NS3A-18.2 | 13.0491 | 0.17599 | 13.0491 | 12.883 | 0.215 | 2.5677 | 2.0785 | 1.2354 | 2014-02-20 | 9:47 | 3467 | 1213 | 3497 | -3 | -17 | 898729 | 482274 | -50985 | NS3A-18.2 | 0.00065522 | -4.9856e-05
20140220@336.asc | NS3A-18.1 | 7.5622 | 0.17599 |  | 7.397 | 0.141 | 2.5803 | 2.0798 | 1.2407 | 2014-02-20 | 9:51 | 3471 | 1258 | 3483 | -3 | -17 | 898729 | 482274 | -50985 | NS3A-18.1 | 0.00072398 | 1.8899e-05
20140220@337.asc | NS3A-15.1 | 6.434 | 0.17599 | 6.434 | 6.269 | 0.186 | 2.5874 | 2.0796 | 1.2442 | 2014-02-20 | 9:54 | 3474 | 2011 | 3620 | 1 | -15 | 898729 | 482274 | -50985 | NS3A-15.1 | 0.00066643 | -3.865e-05
20140220@338.asc | NS3A-15.2 | 7.0541 | 0.17599 |  | 6.889 | 0.204 | 2.5786 | 2.0739 | 1.2434 | 2014-02-20 | 9:58 | 3478 | 1898 | 3505 | 0 | -15 | 898729 | 482274 | -50985 | NS3A-15.2 | 0.00074265 | 3.7573e-05
20140220@339.asc | NS3A-15.3 | 7.3701 | 0.17599 | 7.3701 | 7.205 | 0.208 | 2.5601 | 2.0692 | 1.2373 | 2014-02-20 | 10:01 | 3481 | 1836 | 3399 | 1 | -17 | 898729 | 482274 | -50985 | NS3A-15.3 | 0.0006592 | -4.5879e-05
20140220@340.asc | NS3A-11.1 | 6.703 | 0.17599 | 6.703 | 6.538 | 0.16 | 2.5558 | 2.0625 | 1.2392 | 2014-02-20 | 10:05 | 3485 | 2625 | 3497 | -1 | -17 | 898729 | 482274 | -50985 | NS3A-11.1 | 0.00065718 | -4.79e-05
20140220@341.asc | NS3A-11.2 | 8.5073 | 0.17599 |  | 8.342 | 0.262 | 2.5546 | 2.0624 | 1.2386 | 2014-02-20 | 10:09 | 3489 | 2582 | 3611 | -2 | -16 | 898729 | 482274 | -50985 | NS3A-11.2 | 0.00068361 | -2.147e-05
20140220@342.asc | NS3A-10 | 6.9521 | 0.17599 | 6.9521 | 6.787 | 0.194 | 2.5415 | 2.0637 | 1.2315 | 2014-02-20 | 10:12 | 3492 | 2595 | 3295 | -1 | -18 | 898729 | 482274 | -50985 | NS3A-10 | 0.00067674 | -2.8342e-05
20140220@343.asc | NS3A-3.1 | 8.3783 | 0.17599 | 8.3783 | 8.213 | 0.271 | 2.5499 | 2.0608 | 1.2373 | 2014-02-20 | 10:16 | 3496 | 3616 | 3762 | -3 | -17 | 898729 | 482274 | -50985 | NS3A-3.1 | 0.00068144 | -2.3636e-05
20140220@344.asc | NS3A-3.2 | 9.6415 | 0.17599 |  | 9.476 | 0.213 | 2.5676 | 2.0588 | 1.2471 | 2014-02-20 | 10:19 | 3499 | 3656 | 3778 | -4 | -18 | 898729 | 482274 | -50985 | NS3A-3.2 | 0.0008378 | 0.00013272
20140220@345.asc | SS1-121R | 8.4873 | 0.17599 | 8.49 | 8.322 | 0.212 | 2.5231 | 2.0537 | 1.2285 | 2014-02-20 | 10:24 | 3504 | -3837 | -1439 | -3 | -19 | 898729 | 482274 | -50985 | SS1-121R | 0.00073859 | 3.3512e-05
20140220@346.asc | SS1-121.1 | 6.337 | 0.17599 |  | 6.172 | 0.473 | 2.4693 | 2.0522 | 1.2032 | 2014-02-20 | 10:27 | 3507 | -3757 | -1494 | -4 | -19 | 898729 | 482274 | -50985 | SS1-121.1 | 0.007643 | 0.006938
20140220@347.asc | SS1-22.1 | 8.3383 | 0.17599 | 8.34 | 8.173 | 0.179 | 2.5104 | 2.0515 | 1.2237 | 2014-02-20 | 10:31 | 3511 | -2409 | -1612 | -5 | -21 | 898729 | 482274 | -50985 | SS1-22.1 | 0.00078622 | 8.114e-05
20140220@348.asc | SS1-22.2 | 2.3553 | 0.17599 |  | 2.191 | 0.174 | 2.5347 | 2.0597 | 1.2306 | 2014-02-20 | 10:35 | 3515 | -2335 | -1604 | -5 | -21 | 898729 | 482274 | -50985 | SS1-22.2 | 0.00076409 | 5.9015e-05
20140220@349.asc | SS1-22.3 | 2.0593 | 0.17599 |  | 1.895 | 0.161 | 2.5416 | 2.0615 | 1.2329 | 2014-02-20 | 10:38 | 3518 | -2364 | -1610 | -5 | -22 | 898729 | 482274 | -50985 | SS1-22.3 | 0.00078401 | 7.8932e-05
20140220@350.asc | ESG32 KIM-5 |  |  |  | 4.88 | 0.166 | 2.5791 | 2.0556 | 1.2547 | 2014-02-20 | 10:43 | 3523 | 414 | 277 | 0 | -21 | 898729 | 482274 | -50985 | KIM-5/ | 0.00072043
20140220@351.asc | ESG32 KIM-5 |  |  |  | 4.964 | 0.262 | 2.5807 | 2.06 | 1.2528 | 2014-02-20 | 10:46 | 3526 | 414 | 257 | 0 | -22 | 898729 | 482274 | -50985 | KIM-5/ | 0.00074314
20140220@352.asc | ESG32 KIM-5 |  |  |  | 4.849 | 0.235 | 2.5951 | 2.0646 | 1.2569 | 2014-02-20 | 10:49 | 3529 | 414 | 237 | 0 | -22 | 898729 | 482274 | -50985 | KIM-5/ | 0.00073157
20140220@353.asc | ESG32 KIM-5 |  |  |  | 5.01 | 0.24 | 2.5736 | 2.0657 | 1.2459 | 2014-02-20 | 10:52 | 3532 | 414 | 217 | 0 | -22 | 898729 | 482274 | -50985 | KIM-5/ | 0.00071323
| average and 2SD |  |  |  | 4.9258 | 0.14852 | [14 empty] | 0.00072709
| bracket average and 2SD | 5.09 |  | -0.16392 | 4.9253 | 0.17599 | [14 empty] | 0.00070508
20140220@354.asc | SS1-114.1 | 2.442 | 0.15884 |  | 2.33 | 0.216 | 2.5641 | 2.0713 | 1.2379 | 2014-02-20 | 10:56 | 3536 | -2657 | -1517 | -6 | -21 | 898729 | 482274 | -50985 | SS1-114.1 | 0.00072299 | -3.7138e-05
20140220@355.asc | SS1-114.3 | 8.2306 | 0.15884 | 8.23 | 8.118 | 0.285 | 2.5374 | 2.0756 | 1.2225 | 2014-02-20 | 11:00 | 3540 | -2694 | -1564 | -5 | -22 | 898729 | 482274 | -50985 | SS1-114.3 | 0.00075164 | -8.4856e-06
20140220@356.asc | SS1-114.2 | 2.2859 | 0.15884 |  | 2.174 | 0.224 | 2.5726 | 2.08 | 1.2368 | 2014-02-20 | 11:03 | 3543 | -2677 | -1538 | -5 | -22 | 898729 | 482274 | -50985 | SS1-114.2 | 0.00080006 | 3.9935e-05
20140220@357.asc | SS1-3.1 | 4.6782 | 0.15884 |  | 4.566 | 0.178 | 2.5896 | 2.0854 | 1.2418 | 2014-02-20 | 11:08 | 3548 | 3267 | -1384 | -1 | -24 | 898729 | 482274 | -50985 | SS1-3.1 | 0.00074398 | -1.6144e-05
20140220@358.asc | SS1-9 | 8.2816 | 0.15884 |  | 8.169 | 0.196 | 2.5728 | 2.0857 | 1.2335 | 2014-02-20 | 11:12 | 3552 | 1479 | -1390 | 1 | -22 | 898729 | 482274 | -50985 | SS1-9 | 0.00072193 | -3.8194e-05
20140220@359.asc | SS1-10.1 | 8.8747 | 0.15884 | 8.87 | 8.762 | 0.187 | 2.5796 | 2.0835 | 1.2381 | 2014-02-20 | 11:16 | 3556 | 1169 | -1462 | 2 | -24 | 898729 | 482274 | -50985 | SS1-10.1 | 0.00080789 | 4.7765e-05
20140220@360.asc | SS1-12 | 9.3297 | 0.15884 | 9.33 | 9.217 | 0.187 | 2.5696 | 2.0756 | 1.238 | 2014-02-20 | 11:20 | 3560 | 252 | -1287 | 3 | -23 | 898729 | 482274 | -50985 | SS1-12 | 0.00077056 | 1.0439e-05
20140220@361.asc | SS1-14.2 | 8.2846 | 0.15884 | 8.28 | 8.172 | 0.277 | 2.5514 | 2.072 | 1.2314 | 2014-02-20 | 11:23 | 3563 | -414 | -1265 | 2 | -24 | 898729 | 482274 | -50985 | SS1-14.2 | 0.00076848 | 8.3565e-06
20140220@362.asc | SS1-14.1 | 7.5885 | 0.15884 |  | 7.476 | 0.232 | 2.5877 | 2.0683 | 1.2511 | 2014-02-20 | 11:27 | 3567 | -497 | -1203 | 1 | -23 | 898729 | 482274 | -50985 | SS1-14.1 | 0.0008474 | 8.7279e-05
20140220@363.asc | SS1-15.1 | 7.8976 | 0.15884 | 7.9 | 7.785 | 0.262 | 2.5113 | 2.0517 | 1.224 | 2014-02-20 | 11:31 | 3571 | -987 | -1424 | 3 | -23 | 898729 | 482274 | -50985 | SS1-15.1 | 0.00076753 | 7.4024e-06
20140220@364.asc | SS1-15.2 | 1.4468 | 0.15884 |  | 1.335 | 0.198 | 2.5531 | 2.0544 | 1.2428 | 2014-02-20 | 11:34 | 3574 | -934 | -1374 | 2 | -23 | 898729 | 482274 | -50985 | SS1-15.2 | 0.00082173 | 6.1601e-05
20140220@365.asc | SS1-16.1 | 7.4065 | 0.15884 | 7.41 | 7.294 | 0.251 | 2.5069 | 2.0464 | 1.225 | 2014-02-20 | 11:38 | 3578 | -1107 | -1530 | 3 | -24 | 898729 | 482274 | -50985 | SS1-16.1 | 0.000992 | 0.00023188
20140220@366.asc | SS1-16.2 | 5.2913 | 0.15884 |  | 5.179 | 0.233 | 2.4852 | 2.0447 | 1.2154 | 2014-02-20 | 11:41 | 3581 | -1145 | -1572 | 3 | -23 | 898729 | 482274 | -50985 | SS1-16.2 | 0.00076791 | 7.7855e-06
20140220@367.asc | SS1-20.1 | 13.9502 | 0.15884 | 13.95 | 13.837 | 0.196 | 2.5065 | 2.039 | 1.2293 | 2014-02-20 | 11:45 | 3585 | -1808 | -1358 | 1 | -22 | 898729 | 482274 | -50985 | SS1-20.1 | 0.00073275 | -2.7371e-05
20140220@368.asc | SS1-20.2 | 5.9123 | 0.15884 | 1.1602 | 5.8 | 0.24 | 2.4945 | 2.0375 | 1.2243 | 2014-02-20 | 11:49 | 3589 | -1883 | -1350 | 1 | -22 | 898729 | 482274 | -50985 | SS1-20.2 | 0.00075223 | -7.891e-06
20140220@369.asc | ESG32 KIM-5 |  |  |  | 5.055 | 0.208 | 2.5064 | 2.025 | 1.2377 | 2014-02-20 | 11:54 | 3594 | 375 | 291 | 4 | -22 | 898729 | 482274 | -50985 | KIM-5/ | 0.00075501
20140220@370.asc | ESG32 KIM-5 |  |  |  | 5.047 | 0.179 | 2.5027 | 2.0197 | 1.2391 | 2014-02-20 | 11:57 | 3597 | 375 | 271 | 4 | -22 | 898729 | 482274 | -50985 | KIM-5/ | 0.00080246
20140220@371.asc | ESG32 KIM-5 |  |  |  | 5.054 | 0.17 | 2.49 | 2.0168 | 1.2346 | 2014-02-20 | 12:00 | 3600 | 375 | 251 | 4 | -22 | 898729 | 482274 | -50985 | KIM-5/ | 0.00081168
20140220@372.asc | ESG32 KIM-5 |  |  |  | 4.963 | 0.217 | 2.5017 | 2.0176 | 1.2399 | 2014-02-20 | 12:03 | 3603 | 375 | 231 | 3 | -23 | 898729 | 482274 | -50985 | KIM-5/ | 0.00080346
| average and 2SD |  |  |  | 5.0297 | 0.089284 | [14 empty] | 0.00079315
| bracket average and 2SD | 5.09 |  | -0.11168 | 4.9777 | 0.15884 | [14 empty] | 0.00076012
ESG11
20140220@391.asc | ESG11 KIM-5 |  |  |  | 4.86 | 0.199 | 2.458 | 2.0033 | 1.227 | 2014-02-20 | 13:31 | 3691 | 63 | -349 | -8 | 0 | 898729 | 482274 | -50985 | KIM-5/ | 0.0005595
20140220@392.asc | ESG11 KIM-5 |  |  |  | 5.002 | 0.286 | 2.453 | 1.9995 | 1.2268 | 2014-02-20 | 13:34 | 3694 | 63 | -369 | -8 | 1 | 898729 | 482274 | -50985 | KIM-5/ | 0.00057406
20140220@393.asc | ESG11 KIM-5 |  |  |  | 4.94 | 0.247 | 2.4567 | 1.9986 | 1.2292 | 2014-02-20 | 13:37 | 3697 | 63 | -389 | -9 | 0 | 898729 | 482274 | -50985 | KIM-5/ | 0.00058852
20140220@394.asc | ESG11 KIM-5 |  |  |  | 5.092 | 0.222 | 2.4552 | 1.9978 | 1.229 | 2014-02-20 | 13:40 | 3700 | 63 | -409 | -9 | -1 | 898729 | 482274 | -50985 | KIM-5/ | 0.00058335
| average and 2SD |  |  |  | 4.9735 | 0.19616 | [14 empty] | 0.00057635
20140220@395.asc | TUNG 201.2 | 3.4002 | 0.26119 |  | 3.376 | 0.264 | 2.4179 | 1.9835 | 1.219 | 2014-02-20 | 13:47 | 3707 | -4831 | 878 | -5 | -1 | 898729 | 482274 | -50985 | TUNG 201.2 | 0.00054634 | -6.2274e-05
20140220@396.asc | TUNG 201.1 | 3.4242 | 0.26119 |  | 3.4 | 0.162 | 2.4133 | 1.9843 | 1.2162 | 2014-02-20 | 13:52 | 3712 | -4791 | 814 | -6 | -2 | 898729 | 482274 | -50985 | TUNG 201.1 | 0.00056055 | -4.8064e-05
20140220@397.asc | TUNG 301.2 | 2.5812 | 0.26119 |  | 2.557 | 0.241 | 2.4127 | 1.9867 | 1.2144 | 2014-02-20 | 13:56 | 3716 | -4125 | 1289 | -8 | -1 | 898729 | 482274 | -50985 | TUNG 301.2 | 0.00057582 | -3.2798e-05
20140220@398.asc | TUNG 301.1 | 7.0513 | 0.26119 |  | 7.027 | 0.195 | 2.402 | 1.9835 | 1.211 | 2014-02-20 | 14:00 | 3720 | -4125 | 1226 | -8 | -1 | 898729 | 482274 | -50985 | TUNG 301.1 | 0.00058718 | -2.1432e-05
20140220@399.asc | TUNG 301.3 | 2.8462 | 0.26119 |  | 2.822 | 0.221 | 2.4068 | 1.9811 | 1.2149 | 2014-02-20 | 14:03 | 3723 | -4126 | 1321 | -8 | -1 | 898729 | 482274 | -50985 | TUNG 301.3 | 0.00057791 | -3.0705e-05
20140220@400.asc | TUNG 301.4 | 2.4722 | 0.26119 |  | 2.448 | 0.194 | 2.4128 | 1.983 | 1.2168 | 2014-02-20 | 14:08 | 3728 | -4128 | 1356 | -8 | -1 | 898729 | 482274 | -50985 | TUNG 301.4 | 0.00062111 | 1.25e-05
20140220@401.asc | TUNG 200.1 | 6.8363 | 0.26119 |  | 6.812 | 0.3 | 2.4089 | 1.9906 | 1.2101 | 2014-02-20 | 14:12 | 3732 | -4006 | 814 | -4 | -1 | 898729 | 482274 | -50985 | TUNG 200.1 | 0.00086425 | 0.00025564
20140220@402.asc | TUNG 200.2 | 7.1323 | 0.26119 |  | 7.108 | 0.211 | 2.4155 | 1.9917 | 1.2128 | 2014-02-20 | 14:15 | 3735 | -3986 | 787 | -4 | -2 | 898729 | 482274 | -50985 | TUNG 200.2 | 0.00075206 | 0.00014345
20140220@403.asc | TUNG 200.3 | 6.7213 | 0.26119 |  | 6.697 | 0.242 | 2.4067 | 1.9906 | 1.209 | 2014-02-20 | 14:19 | 3739 | -3962 | 769 | -3 | -1 | 898729 | 482274 | -50985 | TUNG 200.3 | 0.00063935 | 3.0736e-05
20140220@404.asc | TUNG 200.4 | 4.2122 | 0.26119 |  | 4.188 | 0.196 | 2.4116 | 1.9885 | 1.2128 | 2014-02-20 | 14:23 | 3743 | -3910 | 750 | -5 | -2 | 898729 | 482274 | -50985 | TUNG 200.4 | 0.000598 | -1.0618e-05
20140220@405.asc | ESG11 KIM-5 |  |  |  | 5.237 | 0.227 | 2.4095 | 1.978 | 1.2182 | 2014-02-20 | 14:28 | 3748 | 37 | -414 | 0 | -1 | 898729 | 482274 | -50985 | KIM-5/ | 0.0006362
20140220@406.asc | ESG11 KIM-5 |  |  |  | 5.062 | 0.231 | 2.4129 | 1.9782 | 1.2197 | 2014-02-20 | 14:31 | 3751 | 37 | -434 | 0 | 0 | 898729 | 482274 | -50985 | KIM-5/ | 0.0006388
20140220@407.asc | ESG11 KIM-5 |  |  |  | 5.225 | 0.222 | 2.4096 | 1.9771 | 1.2188 | 2014-02-20 | 14:34 | 3754 | 37 | -454 | 0 | 0 | 898729 | 482274 | -50985 | KIM-5/ | 0.00064393
20140220@408.asc | ESG11 KIM-5 |  |  |  | 5.108 | 0.231 | 2.396 | 1.9714 | 1.2154 | 2014-02-20 | 14:38 | 3758 | 37 | -474 | 0 | 0 | 898729 | 482274 | -50985 | KIM-5/ | 0.00064457
| average and 2SD |  |  |  | 5.158 | 0.173 | [14 empty] | 0.00064088
| bracket average and 2SD | 5.09 |  | -0.024127 | 5.0657 | 0.26119 | [14 empty] | 0.00060861
20140220@409.asc | TUNG 203.1 | 8.3448 | 0.46918 |  | 8.217 | 0.232 | 2.3764 | 1.9655 | 1.209 | 2014-02-20 | 14:42 | 3762 | -4443 | 1012 | -1 | -1 | 898729 | 482274 | -50985 | TUNG 203.1 | 0.00063341 | -2.5007e-05
20140220@410.asc | TUNG 203.2 | 7.3737 | 0.46918 |  | 7.246 | 0.158 | 2.3663 | 1.9664 | 1.2034 | 2014-02-20 | 14:46 | 3766 | -4539 | 922 | -1 | -1 | 898729 | 482274 | -50985 | TUNG 203.2 | 0.0006331 | -2.5323e-05
20140220@411.asc | TUNG 122.1 | 2.9541 | 0.46918 |  | 2.827 | 0.242 | 2.3649 | 1.9618 | 1.2055 | 2014-02-20 | 14:49 | 3769 | -4522 | 1866 | -2 | -1 | 898729 | 482274 | -50985 | TUNG 122.1 | 0.00066232 | 3.9003e-06
20140220@412.asc | TUNG 122.2 | 7.3477 | 0.46918 |  | 7.22 | 0.213 | 2.3463 | 1.9574 | 1.1987 | 2014-02-20 | 14:52 | 3772 | -4576 | 1921 | -1 | -1 | 898729 | 482274 | -50985 | TUNG 122.2 | 0.00067592 | 1.7506e-05
20140220@413.asc | TUNG 27.2 | 6.9856 | 0.46918 |  | 6.858 | 0.247 | 2.3605 | 1.9571 | 1.2061 | 2014-02-20 | 14:56 | 3776 | -4839 | 2010 | 0 | -1 | 898729 | 482274 | -50985 | TUNG 27.2 | 0.00062624 | -3.2179e-05
20140220@414.asc | TUNG 27.1 | 6.9786 | 0.46918 |  | 6.851 | 0.234 | 2.361 | 1.9562 | 1.207 | 2014-02-20 | 15:00 | 3780 | -4810 | 2098 | 0 | -1 | 898729 | 482274 | -50985 | TUNG 27.1 | 0.00067749 | 1.9067e-05
20140220@415.asc | TUNG 28.1 | 7.1096 | 0.46918 |  | 6.982 | 0.206 | 2.3438 | 1.9536 | 1.1997 | 2014-02-20 | 15:03 | 3783 | -5022 | 1943 | 0 | -3 | 898729 | 482274 | -50985 | TUNG 28.1 | 0.00063039 | -2.803e-05
20140220@416.asc | TUNG 28.2 | 5.6654 | 0.46918 |  | 5.538 | 0.196 | 2.3587 | 1.9609 | 1.2029 | 2014-02-20 | 15:07 | 3787 | -4992 | 2088 | 1 | -2 | 898729 | 482274 | -50985 | TUNG 28.2 | 0.00064634 | -1.2075e-05
20140220@417.asc | TUNG 123.1 | 3.5262 | 0.46918 |  | 3.399 | 0.276 | 2.3796 | 1.9748 | 1.205 | 2014-02-20 | 15:11 | 3791 | -4953 | 2353 | 1 | -1 | 898729 | 482274 | -50985 | TUNG 123.1 | 0.00062092 | -3.7494e-05
20140220@418.asc | TUNG 123.3 | 6.9266 | 0.46918 |  | 6.799 | 0.186 | 2.3968 | 1.9857 | 1.207 | 2014-02-20 | 15:14 | 3794 | -4990 | 2449 | 1 | -1 | 898729 | 482274 | -50985 | TUNG 123.3 | 0.00070368 | 4.5259e-05
20140220@419.asc | TUNG 25.1 | 8.9329 | 0.46918 |  | 8.805 | 0.257 | 2.3944 | 1.9826 | 1.2077 | 2014-02-20 | 15:18 | 3798 | -3462 | 1852 | -4 | 0 | 898729 | 482274 | -50985 | TUNG 25.1 | 0.00082849 | 0.00017007
20140220@420.asc | TUNG 25.2 | 6.8966 | 0.46918 |  | 6.769 | 0.211 | 2.391 | 1.9748 | 1.2107 | 2014-02-20 | 15:22 | 3802 | -3479 | 2021 | -5 | 0 | 898729 | 482274 | -50985 | TUNG 25.2 | 0.00069111 | 3.2691e-05
20140220@421.asc | TUNG 25R | 6.7726 | 0.46918 |  | 6.645 | 0.213 | 2.3723 | 1.9634 | 1.2083 | 2014-02-20 | 15:25 | 3805 | -3478 | 2095 | -5 | 0 | 898729 | 482274 | -50985 | TUNG 25R | 0.00085659 | 0.00019817
20140220@422.asc | TUNG 24.2 | 4.1863 | 0.46918 |  | 4.059 | 0.309 | 2.3653 | 1.9556 | 1.2095 | 2014-02-20 | 15:29 | 3809 | -3158 | 1899 | -6 | 1 | 898729 | 482274 | -50985 | TUNG 24.2 | 0.00066131 | 2.8903e-06
20140220@423.asc | TUNG 24.3 | 5.5734 | 0.46918 |  | 5.446 | 0.247 | 2.3573 | 1.9556 | 1.2054 | 2014-02-20 | 15:32 | 3812 | -3226 | 1845 | -7 | 0 | 898729 | 482274 | -50985 | TUNG 24.3 | 0.00064983 | -8.5853e-06
20140220@424.asc | ESG11 KIM-5 |  |  |  | 4.811 | 0.248 | 2.3715 | 1.9459 | 1.2187 | 2014-02-20 | 15:36 | 3816 | 95 | -403 | -3 | -1 | 898729 | 482274 | -50985 | KIM-5/ | 0.00066359
20140220@425.asc | ESG11 KIM-5 |  |  |  | 4.726 | 0.296 | 2.3716 | 1.945 | 1.2193 | 2014-02-20 | 15:39 | 3819 | 95 | -423 | -3 | 0 | 898729 | 482274 | -50985 | KIM-5/ | 0.0006734
20140220@426.asc | ESG11 KIM-5 |  |  |  | 4.93 | 0.215 | 2.3598 | 1.9427 | 1.2147 | 2014-02-20 | 15:42 | 3822 | 95 | -443 | -2 | 1 | 898729 | 482274 | -50985 | KIM-5/ | 0.00068315
20140220@427.asc | ESG11 KIM-5 |  |  |  | 4.602 | 0.191 | 2.3551 | 1.9382 | 1.2151 | 2014-02-20 | 15:46 | 3826 | 95 | -463 | -2 | 1 | 898729 | 482274 | -50985 | KIM-5/ | 0.00068371
| average and 2SD |  |  |  | 4.7672 | 0.27667 | [14 empty] | 0.00067596
| bracket average and 2SD | 5.09 |  | -0.12673 | 4.9626 | 0.46918 | [14 empty] | 0.00065842
20140220@428.asc | TUNG 117.1 | 3.0939 | 0.31418 |  | 2.75 | 0.208 | 2.3175 | 1.934 | 1.1983 | 2014-02-20 | 15:50 | 3830 | -1896 | 2253 | 1 | 0 | 898729 | 482274 | -50985 | TUNG 117.1 | 0.00066568 | -4.9592e-06
20140220@429.asc | TUNG 117.2 | 6.8042 | 0.31418 |  | 6.459 | 0.266 | 2.3105 | 1.9325 | 1.1956 | 2014-02-20 | 15:54 | 3834 | -1891 | 2159 | 0 | 1 | 898729 | 482274 | -50985 | TUNG 117.2 | 0.00068858 | 1.7941e-05
20140220@430.asc | TUNG 15.1 | 7.2584 | 0.31418 |  | 6.913 | 0.173 | 2.3141 | 1.9328 | 1.1973 | 2014-02-20 | 15:58 | 3838 | -1188 | 2274 | -1 | 2 | 898729 | 482274 | -50985 | TUNG 15.1 | 0.0006936 | 2.2959e-05
20140220@431.asc | TUNG 15.2 | 6.6942 | 0.31418 |  | 6.349 | 0.259 | 2.3086 | 1.9333 | 1.1941 | 2014-02-20 | 16:01 | 3841 | -1301 | 2232 | -2 | 1 | 898729 | 482274 | -50985 | TUNG 15.2 | 0.00076627 | 9.5627e-05
20140220@432.asc | TUNG 13.1 | 5.0046 | 0.31418 |  | 4.66 | 0.142 | 2.3211 | 1.9357 | 1.1991 | 2014-02-20 | 16:05 | 3845 | -926 | 1784 | -3 | 2 | 898729 | 482274 | -50985 | TUNG 13.1 | 0.00066098 | -9.6599e-06
20140220@433.asc | TUNG 13.2 | 7.1023 | 0.31418 |  | 6.757 | 0.275 | 2.3161 | 1.9335 | 1.1979 | 2014-02-20 | 16:08 | 3848 | -972 | 1847 | -3 | 1 | 898729 | 482274 | -50985 | TUNG 13.2 | 0.00068596 | 1.5315e-05
20140220@434.asc | TUNG 12.2 | 3.0329 | 0.31418 |  | 2.689 | 0.293 | 2.315 | 1.926 | 1.202 | 2014-02-20 | 16:12 | 3852 | -655 | 2052 | -3 | 2 | 898729 | 482274 | -50985 | TUNG 12.2 | 0.0006875 | 1.6862e-05
20140220@435.asc | TUNG 12.1 | 6.9062 | 0.31418 |  | 6.561 | 0.248 | 2.3051 | 1.9204 | 1.2003 | 2014-02-20 | 16:16 | 3856 | -580 | 2157 | -3 | 2 | 898729 | 482274 | -50985 | TUNG 12.1 | 0.00068963 | 1.8986e-05
20140220@436.asc | TUNG 12.3 | 5.7378 | 0.31418 |  | 5.393 | 0.249 | 2.2922 | 1.9134 | 1.1979 | 2014-02-20 | 16:19 | 3859 | -612 | 2121 | -4 | 2 | 898729 | 482274 | -50985 | TUNG 12.3 | 0.00067095 | 3.1068e-07
20140220@437.asc | TUNG 12.4 | 2.9719 | 0.31418 |  | 2.628 | 0.261 | 2.2832 | 1.911 | 1.1948 | 2014-02-20 | 16:22 | 3862 | -640 | 2084 | -3 | 3 | 898729 | 482274 | -50985 | TUNG 12.4 | 0.00070013 | 2.9492e-05
20140220@438.asc | ESG11 KIM-5 |  |  |  | 4.438 | 0.188 | 2.3072 | 1.9023 | 1.2128 | 2014-02-20 | 16:27 | 3867 | 123 | -419 | 2 | 0 | 898729 | 482274 | -50985 | KIM-5/ | 0.00067551
20140220@439.asc | ESG11 KIM-5 |  |  |  | 4.862 | 0.299 | 2.3071 | 1.9019 | 1.213 | 2014-02-20 | 16:30 | 3870 | 123 | -439 | 2 | 0 | 898729 | 482274 | -50985 | KIM-5/ | 0.00070037
20140220@440.asc | ESG11 KIM-5 Cs-ReS=148 |  |  |  | 4.798 | 0.18 | 2.5301 | 2.0674 | 1.2238 | 2014-02-20 | 16:37 | 3877 | 125 | -461 | 7 | 1 | 898729 | 482274 | -50985 | KIM-5/ | 0.00064837
20140220@441.asc | ESG11 KIM-5 |  |  |  | 4.796 | 0.218 | 2.5663 | 2.0937 | 1.2257 | 2014-02-20 | 16:41 | 3881 | 125 | -481 | 8 | 2 | 898729 | 482274 | -50985 | KIM-5/ | 0.00063703
| average and 2SD |  |  |  | 4.7235 | 0.38557 | [14 empty] | 0.00066532
| bracket average and 2SD | 5.09 |  | -0.34288 | 4.7454 | 0.31418 | [14 empty] | 0.00067064
20140220@442.asc | TUNG 20.2 | 5.8439 | 0.29172 |  | 5.528 | 0.186 | 2.5739 | 2.1093 | 1.2203 | 2014-02-20 | 16:46 | 3886 | -2046 | 1997 | 1 | 1 | 898729 | 482274 | -50985 | TUNG 20.2 | 0.00067534 | 3.4629e-05
20140220@443.asc | TUNG 18 | 2.4958 | 0.29172 |  | 2.181 | 0.15 | 2.5948 | 2.1157 | 1.2265 | 2014-02-20 | 16:50 | 3890 | -1746 | 2293 | 0 | 1 | 898729 | 482274 | -50985 | TUNG 18 | 0.00066547 | 2.4764e-05
20140220@444.asc | TUNG 23.2 | 3.8242 | 0.29172 |  | 3.509 | 0.21 | 2.5959 | 2.1125 | 1.2289 | 2014-02-20 | 16:53 | 3893 | -3034 | 2235 | -2 | 0 | 898729 | 482274 | -50985 | TUNG 23.2 | 0.00061085 | -2.9858e-05
20140220@445.asc | TUNG 119.1 | 7.0662 | 0.29172 |  | 6.75 | 0.21 | 2.5998 | 2.1182 | 1.2273 | 2014-02-20 | 16:57 | 3897 | -3842 | 2369 | 1 | 0 | 898729 | 482274 | -50985 | TUNG 119.1 | 0.00066294 | 2.2233e-05
20140220@446.asc | TUNG 121 | 8.6287 | 0.29172 |  | 8.312 | 0.195 | 2.5982 | 2.1269 | 1.2216 | 2014-02-20 | 17:01 | 3901 | -4130 | 2349 | 2 | -1 | 898729 | 482274 | -50985 | TUNG 121 | 0.00061785 | -2.2857e-05
20140220@447.asc | TUNG 120 | 6.0709 | 0.29172 |  | 5.755 | 0.238 | 2.6051 | 2.1284 | 1.224 | 2014-02-20 | 17:04 | 3904 | -4000 | 1887 | 2 | -1 | 898729 | 482274 | -50985 | TUNG 120 | 0.00065448 | 1.3767e-05
20140220@448.asc | TUNG 26.2 | 2.7609 | 0.29172 |  | 2.446 | 0.182 | 2.6024 | 2.1269 | 1.2235 | 2014-02-20 | 17:08 | 3908 | -4565 | 2313 | 4 | -2 | 898729 | 482274 | -50985 | TUNG 26.2 | 0.00061975 | -2.0958e-05
20140220@449.asc | TUNG 19.2 | 8.9668 | 0.29172 |  | 8.65 | 0.174 | 2.6216 | 2.126 | 1.2331 | 2014-02-20 | 17:12 | 3912 | -1792 | 1852 | -5 | 1 | 898729 | 482274 | -50985 | TUNG 19.2 | 0.00072236 | 8.1646e-05
20140220@450.asc | TUNG 116 | 1.9756 | 0.29172 |  | 1.661 | 0.16 | 2.6142 | 2.1249 | 1.2302 | 2014-02-20 | 17:16 | 3916 | -1564 | 1992 | -5 | 2 | 898729 | 482274 | -50985 | TUNG 116 | 0.00066178 | 2.1072e-05
20140220@451.asc | TUNG 17.1 | 8.7268 | 0.29172 |  | 8.41 | 0.191 | 2.6112 | 2.1224 | 1.2303 | 2014-02-20 | 17:19 | 3919 | -1546 | 2323 | -6 | 2 | 898729 | 482274 | -50985 | TUNG 17.1 | 0.00064371 | 3.0044e-06
20140220@452.asc | ESG11 KIM-5 |  |  |  | 4.83 | 0.145 | 2.6383 | 2.1146 | 1.2476 | 2014-02-20 | 17:23 | 3923 | 64 | -425 | -1 | 0 | 898729 | 482274 | -50985 | KIM-5/ | 0.00062248
20140220@453.asc | ESG11 KIM-5 |  |  |  | 4.758 | 0.203 | 2.6357 | 2.1137 | 1.247 | 2014-02-20 | 17:27 | 3927 | 64 | -445 | -1 | 0 | 898729 | 482274 | -50985 | KIM-5/ | 0.00062503
20140220@454.asc | ESG11 KIM-5 |  |  |  | 4.928 | 0.228 | 2.6242 | 2.1138 | 1.2415 | 2014-02-20 | 17:30 | 3930 | 64 | -465 | 0 | 0 | 898729 | 482274 | -50985 | KIM-5/ | 0.00061575
20140220@455.asc | ESG11 KIM-5 |  |  |  | 4.785 | 0.209 | 2.6111 | 2.1099 | 1.2375 | 2014-02-20 | 17:33 | 3933 | 64 | -485 | 0 | 1 | 898729 | 482274 | -50985 | KIM-5/ | 0.00060113
| average and 2SD |  |  |  | 4.8253 | 0.14932 | [14 empty] | 0.0006161
| bracket average and 2SD | 5.09 |  | -0.31403 | 4.7744 | 0.29172 | [14 empty] | 0.00064071
20140220@456.asc | TUNG 115 | 5.4323 | 0.23085 |  | 5.262 | 0.282 | 2.5892 | 2.1108 | 1.2266 | 2014-02-20 | 17:38 | 3938 | -1447 | 2073 | 2 | 1 | 898729 | 482274 | -50985 | TUNG 115 | 0.00071538 | 8.8781e-05
20140220@457.asc | TUNG 14.2 | 9.69 | 0.23085 |  | 9.519 | 0.197 | 2.5829 | 2.1136 | 1.222 | 2014-02-20 | 17:41 | 3941 | -1211 | 1947 | 1 | 2 | 898729 | 482274 | -50985 | TUNG 14.2 | 0.00066772 | 4.112e-05
20140220@458.asc | TUNG 114 | 4.4201 | 0.23085 |  | 4.25 | 0.207 | 2.5839 | 2.108 | 1.2258 | 2014-02-20 | 17:44 | 3944 | -1081 | 1775 | 1 | 2 | 898729 | 482274 | -50985 | TUNG 114 | 0.00066739 | 4.0787e-05
20140220@459.asc | TUNG 11.2 | 3.808 | 0.23085 |  | 3.638 | 0.194 | 2.5776 | 2.1064 | 1.2237 | 2014-02-20 | 17:49 | 3949 | -361 | 2040 | -1 | 2 | 898729 | 482274 | -50985 | TUNG 11.2 | 0.00070169 | 7.5088e-05
20140220@460.asc | TUNG 109 | 4.3541 | 0.23085 |  | 4.184 | 0.168 | 2.5767 | 2.1018 | 1.226 | 2014-02-20 | 17:56 | 3956 | 763 | 1679 | -4 | 1 | 898729 | 482274 | -50985 | TUNG 109 | 0.00064695 | 2.0349e-05
20140220@461.asc | TUNG 106 | 5.2423 | 0.23085 |  | 5.072 | 0.196 | 2.5866 | 2.1037 | 1.2296 | 2014-02-20 | 18:00 | 3960 | 1063 | 1624 | -4 | 2 | 898729 | 482274 | -50985 | TUNG 106 | 0.00071472 | 8.8115e-05
20140220@462.asc | TUNG 107.1 | 4.0471 | 0.23085 |  | 3.877 | 0.226 | 2.5851 | 2.1116 | 1.2242 | 2014-02-20 | 18:10 | 3970 | 1030 | 1907 | -4 | 1 | 898729 | 482274 | -50985 | TUNG 107.1 | 0.0006533 | 2.6701e-05
20140220@463.asc | TUNG 8.2 | 7.6357 | 0.23085 |  | 7.465 | 0.223 | 2.5957 | 2.1128 | 1.2286 | 2014-02-20 | 18:13 | 3973 | 1115 | 2089 | -5 | 1 | 898729 | 482274 | -50985 | TUNG 8.2 | 0.00061761 | -8.9897e-06
20140220@464.asc | TUNG 7.1 | 4.9132 | 0.23085 |  | 4.743 | 0.227 | 2.583 | 2.1119 | 1.2231 | 2014-02-20 | 18:21 | 3981 | 1356 | 1949 | -5 | 0 | 898729 | 482274 | -50985 | TUNG 7.1 | 0.0006657 | 3.9092e-05
20140220@465.asc | TUNG 6.1 | 5.0002 | 0.23085 |  | 4.83 | 0.241 | 2.6792 | 2.1072 | 1.2714 | 2014-02-20 | 18:24 | 3984 | 1346 | 1636 | -4 | 1 | 898729 | 482274 | -50985 | TUNG 6.1 | 0.0006261 | -4.9841e-07
20140220@466.asc | TUNG 5.2 | 3.2619 | 0.23085 |  | 3.092 | 0.176 | 2.5809 | 2.1039 | 1.2268 | 2014-02-20 | 18:28 | 3988 | 1833 | 1654 | -4 | 2 | 898729 | 482274 | -50985 | TUNG 5.2 | 0.00064573 | 1.913e-05
20140220@467.asc | TUNG 4.1 | 2.4518 | 0.23085 |  | 2.282 | 0.291 | 2.605 | 2.1023 | 1.2391 | 2014-02-20 | 18:31 | 3991 | 2306 | 1660 | -7 | 1 | 898729 | 482274 | -50985 | TUNG 4.1 | 0.00062257 | -4.0353e-06
20140220@468.asc | TUNG 1.2 SHUTTER OPEN | 5.9514 | 0.23085 |  | 5.781 | 0.154 | 2.6632 | 2.1099 | 1.2622 | 2014-02-20 | 18:35 | 3995 | 2693 | 1611 | -5 | 11 | 898729 | 482274 | -50985 | TUNG 1.2 SHUTTER OPEN | 0.0006829 | 5.6295e-05
20140220@469.asc | TUNG 102.1 | 6.2935 | 0.23085 |  | 6.123 | 0.222 | 2.5903 | 2.1152 | 1.2246 | 2014-02-20 | 18:38 | 3998 | 2976 | 1765 | -7 | 1 | 898729 | 482274 | -50985 | TUNG 102.1 | 0.00068275 | 5.6147e-05
20140220@470.asc | TUNG 101.1 | 5.3003 | 0.23085 |  | 5.13 | 0.213 | 2.6031 | 2.1134 | 1.2317 | 2014-02-20 | 18:42 | 4002 | 3046 | 2017 | -7 | 0 | 898729 | 482274 | -50985 | TUNG 101.1 | 0.00063711 | 1.0506e-05
20140220@471.asc | ESG11 KIM-5 |  |  |  | 5.074 | 0.193 | 2.6062 | 2.0996 | 1.2413 | 2014-02-20 | 18:48 | 4008 | 149 | -412 | -4 | 0 | 898729 | 482274 | -50985 | KIM-5/ | 0.00061566
20140220@472.asc | ESG11 KIM-5 |  |  |  | 4.981 | 0.215 | 2.6091 | 2.1001 | 1.2423 | 2014-02-20 | 18:52 | 4012 | 149 | -432 | -4 | 0 | 898729 | 482274 | -50985 | KIM-5/ | 0.00063834
20140220@473.asc | ESG11 KIM-5 |  |  |  | 4.995 | 0.246 | 2.605 | 2.1006 | 1.2401 | 2014-02-20 | 18:55 | 4015 | 149 | -452 | -3 | 1 | 898729 | 482274 | -50985 | KIM-5/ | 0.00064605
20140220@474.asc | ESG11 KIM-5 |  |  |  | 5.007 | 0.165 | 2.5913 | 2.1007 | 1.2335 | 2014-02-20 | 18:58 | 4018 | 149 | -472 | -3 | 2 | 898729 | 482274 | -50985 | KIM-5/ | 0.00064838
| average and 2SD |  |  |  | 5.0143 | 0.082452 | [14 empty] | 0.00063711
| bracket average and 2SD | 5.09 |  | -0.16939 | 4.9198 | 0.23085 | [14 empty] | 0.0006266
20140220@475.asc | TUNG 2.2 | 8.7369 | 0.15236 |  | 8.686 | 0.206 | 2.577 | 2.0996 | 1.2273 | 2014-02-20 | 19:02 | 4022 | 2774 | 1989 | -6 | 1 | 898729 | 482274 | -50985 | TUNG 2.2 | 0.00067981 | 3.7973e-05
20140220@476.asc | TUNG 103.2 | 8.7869 | 0.15236 |  | 8.736 | 0.181 | 2.579 | 2.101 | 1.2275 | 2014-02-20 | 19:05 | 4025 | 3051 | 1536 | -5 | 1 | 898729 | 482274 | -50985 | TUNG 103.2 | 0.00065802 | 1.6182e-05
20140220@477.asc | TUNG 105 | 11.9241 | 0.15236 |  | 11.873 | 0.265 | 2.5751 | 2.1023 | 1.2249 | 2014-02-20 | 19:10 | 4030 | 1548 | 1680 | -3 | 1 | 898729 | 482274 | -50985 | TUNG 105 | 0.00062528 | -1.6555e-05
20140220@478.asc | TUNG 111 | 7.1359 | 0.15236 |  | 7.085 | 0.222 | 2.5467 | 2.0925 | 1.217 | 2014-02-20 | 19:14 | 4034 | -191 | 1910 | 0 | 2 | 898729 | 482274 | -50985 | TUNG 111 | 0.00067729 | 3.5452e-05
20140220@479.asc | TUNG 4.3 | 2.3796 | 0.15236 |  | 2.329 | 0.175 | 2.5764 | 2.0897 | 1.2329 | 2014-02-20 | 19:18 | 4038 | 2335 | 1634 | -6 | 1 | 898729 | 482274 | -50985 | TUNG 4.3 | 0.00076747 | 0.00012563
20140220@480.asc | TUNG 4.4 | 2.9826 | 0.15236 |  | 2.932 | 0.144 | 2.5709 | 2.0933 | 1.2282 | 2014-02-20 | 19:22 | 4042 | 2365 | 1604 | -5 | 1 | 898729 | 482274 | -50985 | TUNG 4.4 | 0.00061924 | -2.2592e-05
20140220@481.asc | TUNG 4.5 | 6.8228 | 0.15236 |  | 6.772 | 0.195 | 2.5726 | 2.0972 | 1.2267 | 2014-02-20 | 19:25 | 4045 | 2395 | 1574 | -5 | 0 | 898729 | 482274 | -50985 | TUNG 4.5 | 0.00067013 | 2.8299e-05
20140220@482.asc | TUNG 104.1 | 1.1576 | 0.15236 |  | 1.107 | 0.215 | 2.5713 | 2.0918 | 1.2292 | 2014-02-20 | 19:29 | 4049 | 2224 | 2089 | -6 | 0 | 898729 | 482274 | -50985 | TUNG 104.1 | 0.00063478 | -7.0549e-06
20140220@483.asc | TUNG 112.1 | 5.3738 | 0.15236 |  | 5.323 | 0.196 | 2.5391 | 2.0851 | 1.2177 | 2014-02-20 | 19:35 | 4055 | -458 | 1709 | 1 | 2 | 898729 | 482274 | -50985 | TUNG 112.1 | 0.00064097 | -8.6725e-07
20140220@484.asc | TUNG 104.2 | 1.4466 | 0.15236 |  | 1.396 | 0.241 | 2.5414 | 2.0756 | 1.2245 | 2014-02-20 | 19:40 | 4060 | 2280 | 2059 | -6 | -1 | 898729 | 482274 | -50985 | TUNG 104.2 | 0.0006476 | 5.7663e-06
20140220@485.asc | TUNG 104.3 | 4.4827 | 0.15236 |  | 4.432 | 0.229 | 2.5133 | 2.0708 | 1.2137 | 2014-02-20 | 19:43 | 4063 | 2219 | 2179 | -6 | 0 | 898729 | 482274 | -50985 | TUNG 104.3 | 0.00063706 | -4.7733e-06
20140220@486.asc | TUNG 4.2 | 5.1268 | 0.15236 |  | 5.076 | 0.365 | 2.5205 | 2.0686 | 1.2184 | 2014-02-20 | 19:47 | 4067 | 2292 | 1754 | -6 | 1 | 898729 | 482274 | -50985 | TUNG 4.2 | 0.0007152 | 7.3368e-05
20140220@487.asc | TUNG 4.6 | 1.8146 | 0.15236 |  | 1.764 | 0.126 | 2.5214 | 2.0619 | 1.2228 | 2014-02-20 | 19:50 | 4070 | 2267 | 1729 | -7 | 2 | 898729 | 482274 | -50985 | TUNG 4.6 | 0.00065327 | 1.1439e-05
20140220@488.asc | TUNG 4.7 | 1.7276 | 0.15236 |  | 1.677 | 0.196 | 2.5078 | 2.0575 | 1.2189 | 2014-02-20 | 19:53 | 4073 | 2242 | 1704 | -7 | 2 | 898729 | 482274 | -50985 | TUNG 4.7 | 0.0006656 | 2.3765e-05
20140220@489.asc | TUNG 4.8 | 7.0949 | 0.15236 |  | 7.044 | 0.226 | 2.497 | 2.0557 | 1.2147 | 2014-02-20 | 19:57 | 4077 | 2222 | 1684 | -8 | 1 | 898729 | 482274 | -50985 | TUNG 4.8 | 0.00077416 | 0.00013232
20140220@490.asc | ESG11 KIM-5 |  |  |  | 5.117 | 0.253 | 2.5119 | 2.0522 | 1.224 | 2014-02-20 | 20:01 | 4081 | 4 | -405 | -4 | 1 | 898729 | 482274 | -50985 | KIM-5/ | 0.0006471
20140220@491.asc | ESG11 KIM-5 |  |  |  | 5.179 | 0.223 | 2.5085 | 2.0424 | 1.2282 | 2014-02-20 | 20:04 | 4084 | 4 | -425 | -5 | 0 | 898729 | 482274 | -50985 | KIM-5/ | 0.00065099
20140220@492.asc | ESG11 KIM-5 |  |  |  | 4.964 | 0.159 | 2.5114 | 2.0371 | 1.2329 | 2014-02-20 | 20:07 | 4087 | 4 | -445 | -6 | -1 | 898729 | 482274 | -50985 | KIM-5/ | 0.0006443
20140220@493.asc | ESG11 KIM-5 |  |  |  | 4.997 | 0.239 | 2.5002 | 2.0376 | 1.227 | 2014-02-20 | 20:10 | 4090 | 4 | -465 | -5 | 0 | 898729 | 482274 | -50985 | KIM-5/ | 0.00064387
| average and 2SD |  |  |  | 5.0642 | 0.20173 | [14 empty] | 0.00064656
| bracket average and 2SD | 5.09 |  | -0.050493 | 5.0392 | 0.15236 | [14 empty] | 0.00064184
MASS CALIBRATION NMR=1007650
20140220@494.asc | ESG11 KIM-5 |  |  |  | 5.2 | 0.267 | 2.5088 | 2.0404 | 1.2296 | 2014-02-20 | 20:20 | 4100 | -16 | -425 | -5 | 0 | 898737 | 482274 | -50985 | KIM-5/ | 0.00069438
20140220@495.asc | ESG11 KIM-5 |  |  |  | 5.308 | 0.213 | 2.601 | 2.1279 | 1.2224 | 2014-02-20 | 20:23 | 4103 | -16 | -445 | -5 | 0 | 898737 | 482274 | -50985 | KIM-5/ | 0.00078163
20140220@496.asc | ESG11 KIM-5 |  |  |  | 5.175 | 0.225 | 2.7101 | 2.2024 | 1.2305 | 2014-02-20 | 20:27 | 4107 | -16 | -465 | -2 | -1 | 898737 | 482274 | -50985 | KIM-5/ | 0.00050469
20140220@497.asc | ESG11 KIM-5 |  |  |  | 5.161 | 0.178 | 2.6629 | 2.1635 | 1.2308 | 2014-02-20 | 20:30 | 4110 | -16 | -485 | -2 | -1 | 898737 | 482274 | -50985 | KIM-5/ | 0.0004622
| average and 2SD |  |  |  | 5.211 | 0.1333

## Info
This Supplemental Material accompanies Gottlieb, E.S., Miller, E.L., Valley, J.W.,
Fisher, C.M., Vervoort, J.D., and Kitajima, K., 2022, Zircon petrochronology of Cretaceous
Cordilleran interior granites of the Snake Range and Kern Mountains, Nevada, USA,
in Craddock, J.P., Malone, D.H., Foreman, B.Z., and Konstantinou, A., eds., Tectonic Evolution
of the Sevier-Laramide Hinterland, Thrust Belt, and Foreland, and Postorogenic Slab Rollback
(180–20 Ma): GSA Special Paper 555, https://doi.org/10.1130/2022.2555(02).